UNITED STATES OF AMERICA

DEPARTMENT OF ENERGY

PUBLIC MEETING ON ENERGY CONSERVATION STANDARDS

FOR CERTAIN COMMERCIAL AIR CONDITIONING,

HEATING AND WATER HEATING EQUIPMENT, i.e.,

CERTAIN EQUIPMENT IN ASHRAE STANDARD 90.1.2010

U.S. Department of Energy

1000 Independence Ave., SW

Washington, D.C. 20585

Room SE-089 Review Center

9:00 a.m.

Tuesday

February 14, 2012

Facilitator:

Doug Brookman

Public Solutions

Baltimore, MD

Participants Identified:

Robert Wilkins

Danfoss

Gary Nettinger

Panasonic Air Conditioning Group

Dave Winningham

Allied Air

Steve Rosenstock

Edison Electric Institute

Joanna Mauer

Appliance Standards Awareness Project

Karim Amrane

Air Conditioning, Heating and Refrigeration Institute

Paul Doppel

Mitsubishi Electric

Warren Beeton

Emerson Climate Technologies

Gabriel Nelson

E&E Publishing

Mark Sharp

Panasonic

Julia Farmer

Underwriters Laboratories

Jay Perkins

Mitsubishi Electric

Participants from DOE:

Mohammed Khan

Ashley Armstrong

Eric Stas

General Counsel’s Office

Participants from Consultants:

Adam Darlington

Navigant Consulting

Knute Svenson

Navigant Consulting

Alison Williams

Lawrence Berkeley National Laboratory

Greg Rosenquist

Lawrence Berkeley National Laboratory

David Winiarski

Pacific Northwest National Laboratory

Mike Scott

Pacific Northwest National Laboratory.

Presenters:

Mohammed Khan

Adam Darlington

Knute Svenson

Dave Winiarski

Michael Scott

Alison Williams

Ashley Armstrong

AGENDA

ITEM								PAGE

Welcome, Doug Brookman					  5

Welcome for DOE, Mohammed Khan			  5

Introductions 							  6

Agenda Review, Doug Brookman				  8

Meeting overview, Mr. Khan				 11

Scope, Mr. Darlington					 15

Test Procedures, Mr. Darlington			 26

Market Assessment, Mr. Svenson			 57

Engineering Analysis, Mr. Svenson			 73

Introduction to Markup Analysis, Energy

Use Analysis, Life Cycle Costs and Payback

Period Analysis, Mr. Winiarski			 86

Markup Analysis, Life Cycle Costs, Mr. Scott	 92

Shipments Analysis, National Impact

Analysis, Utility Impact and Emissions

Impact Analysis, Ms. Williams				123

Certification, Compliance & Enforcement

Ms. Armstrong						138

Closing Remarks

Mr. Khan							145

P R O C E E D I N G S

MR. BROOKMAN:  Good morning everyone and welcome.  This is the U.S. Department of Energy’s public meeting on Energy Conservation Standards for

Certain commercial air conditioning, heating and water heating equipment, i.e., certain equipment in ASHRAE Standard 90.1.2010.

Today is Tuesday, February 14, 2012 here at the Forestall Building in Washington, D.C.  My name is Doug Brookman from Public Solutions in Baltimore.  Glad you’re here.  Glad we’re going to get an early start on the day.

We’re going to start today with welcoming remarks from Mohammed Khan.

Welcoming Remarks

MR. KHAN:  Good morning, everybody.  My name’s Mohammed Khan.  First and foremost I want to welcome and thank everybody for participating today.  Today’s rulemaking is on certain ASHRAE commercial equipment, and it includes a variety of classes of There is a lot of information, technical information, a lot of discussion in there, and so today we want to do our best to convey and summarize the points that are in the NOPR.  We want to get your comments, hear your questions, and then also ask you some questions about it as well.

So, because we have a lot to cover, I think that’s it and we probably can get started.			MR. BROOKMAN:  Okay, so let’s then proceed.  It’s our tradition to do introductions around the room.  I’ll start over here to my left, please say your name, organizational affiliation.   You can get used to turning on the microphone.  We’ve had a little bit of an audio issue going this morning, so in order to get a really clean, clear transcript, we need to be diligent about speaking directly into the microphone.  So let’s – name and organizational affiliation.

Introductions

MR. WILKINS:  Robert Wilkins, Danfoss.

MR. NETTINGER:  Good morning.  Gary Nettinger.  Panasonic Air Conditioning Group.

MR. WINNINGHAM:  Dave Winningham.  Allied Air.

MR. ROSENSTOCK:  This is Steve Rosenstock, Edison Electric Institute.

MS. MAUER:  Joanna Mauer, Appliance Standards Awareness Project.

DR. AMRANE:  Karim Amrane, Commercial Heating and Refrigeration Institute.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.

MR. BEETON:  Warren Beeton, Emerson Climate   Technologies.

MS. ARMSTRONG:  Ashley Armstrong, Department of Energy.

MR. STAS:  Eric Stas, DOE, General Counsel’s Office.

MR. KHAN:  Mohammed Khan, Department of Energy.

MR. BROOKMAN:  Let’s go over here, Dave.

MR. WINIARSKI:  David Winiarski, Pacific Northwest National Laboratory.

MR. ROSENQUIST:  Greg Rosenquist, Lawrence Berkeley National Laboratories.

MS. WILLIAMS:  Alison Williams, Lawrence Berkeley National Laboratory.

MR. SVENSON:  Knute Svenson, Navigant Consulting.

MR. DARLINGTON:  Adam Darlington, Navigant Consulting.

MR. SCOTT:  Mike Scott, Pacific Northwest National Laboratory.

MR. BROOKMAN:  You.  Stand up, say your name.

MR. NELSON:  Gabriel Nelson, E&E Publishing.

MR. BROOKMAN:  Thank you.

MR. SHARP:  Mark Sharp, also with Panasonic.

MS. FARMER:  Julia Farmer, with Underwriters Laboratories.

MR. PERKINS:  Jay Perkins, Mitsubishi Electric.

MR. BROOKMAN:  Okay, so thanks to all of you.   Once again, glad to see you here and get an early start on the day.  All of you received a packet when you walked in the door.  I hope all of you registered with Brenda or with Debby downstairs and handed off a business card.  The Department will typically make a Xerox copy of all of those business cards so that everybody knows who’s here.  I’m going to do a very brief agenda review and then we’ll just proceed.

Agenda Review

MR. BROOKMAN:  As you can see, and you all have a copy of this in your hands, I hope,  immediately following this agenda review, there’s an opportunity –- we’re going to have a brief overview by Mohammed, and then there’s an opportunity for opening remarks, for anybody that wishes to do so.  Brief summary comments on issues that are important to you.

From there, we’ll go directly into a description of the determination of scope and test procedures.

We’ll take a break mid-morning, round about 10:30 or so, following the break we’re going to have market assessment and engineering analysis presented.  And all of you received this packet of slides as well, that will be the general format.  This content will be projected up on the screen and there’s opportunities to comment as we go along.  Following the market assessment, we’re going to be talking about market analysis, energy analysis, life cycle cost and payback curve analysis.

We’ll break for lunch round about 12:15 or so and then following lunch, shipments analysis, national impact analysis, utility impact and emissions impact analysis.  And then rounding out the day, certification and compliance, enforcement and finally it is an opportunity for anybody that wishes to do so, to make final comments, things that haven’t been covered sufficiently in that time block you see at the end of the agenda there, 2:15 to 2:30 or so.  We’ll also cover next steps and closing remarks there.

I think the Federal Register notice suggested this meeting might go to four o’clock today.  We probably will get done a little bit early, but we’ll just see how it goes.  We’ll try to be very efficient about the conduct of the meeting as we’re going along.

Questions and comments about the agenda?

There are several individuals that have joined us via the web.  We’ll do our best to accommodate those that have joined us via the web, that is, if you have questions that you would like – or comments that you would like to have inserted into the record, we’ll do our best to work with you.  If you send a question via the web, try and make it brief and we’ll try and get it answered here.

So then, finally, I’d ask for your consideration.  If during the course of the meeting today, if you could please speak one at a time.  If you could say your name for the record each time you speak. There will be a complete transcript of this meeting.   I’m going to be cuing individuals by name as best I can.  I also wish to encourage follow on comments.  Sometimes the back and forth between individuals can be very useful for the Department.  If you can, be concise.  Share the air time.  There’s a lot to be said, I’m certain.

And keep the focus here.  Please turn your cell phones on silent.  And limit sidebar conversations.  We’re going to have to really focus on getting our faces into these microphones today so we get a nice, clean transcript.

Questions or comments before we begin.  So I think then we’ll go to Mohammed for an overview.

Overview

MR. KHAN:  Well, good morning everyone.  Welcome, and thank you for participating in the Department’s public meeting on energy conservation standards and test procedures for certain commercial heating, air conditioning, and water heating equipment.  My name again is Mohammed Khan and I’m the project manager for this activity.

Today’s meeting serves multiple purposes.  Generally, our goal is to have a two-way discussion.  We want to convey the key points and concepts associated with this rulemaking as well as hear and listen to your thoughts and potential concerns.  So first the Department wants to receive comments on the proposed standard levels and present the approaches and results of the supporting analyses.  Additionally, we want to receive input on any aspect of the methodologies, assumptions, and data sources used in the analyses.

Let it be clear this forum is also for all interested parties to discuss and hear the issues raised by others, and because your feedback is very important, I encourage everyone to fully participate and I urge you to submit any relevant data that will help the Department.  And finally, our goal today is to describe the next steps in the rulemaking.

Let me point out also that today’s public meeting is not the only opportunity for you to provide comments.  You may submit written comments to the Department within the 75 day comment period for this NOPR, which closes on the second of April.

This slide provides a sample call-out box that we’ll use throughout our presentation today to identify specific issues on which the Department either seeks comment or information.  The number and order in which these boxes are presented correspond to the 18 issues listed at the end of the NOPR.

As I mentioned earlier, your feedback is very important, and I want to make sure that everyone is clear on how to submit their comments.  This slide provides a postal, courier, email address, which are appropriate for submitting your comments.  Please include the information here at the top so that it is properly identified and catalogued once we receive it.  And let me restate that the comment period closes on April second.

There’s also another way that you can submit your comments that’s not on the slide here, but it’s in the Federal Register notice, and that’s www.regulations.gov.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  Hi.  Steve Rosenstock, Edison Electric Institute.  It says that in addition, if you want to send by mail to submit items on a compact disk, in which case it’s not necessary to include printed copies.  Are you still accepting one printed copy instead of the CD?

MS. DERR:  His mic’s not on.

MR. BROOKMAN:  So will you restate?

MR. KHAN:  Yeah, I’ll restate what I just said, which is typically -- currently these days we’re not really receiving hard copy.  You know, I guess, with the other technology, it’s easier and more efficient to –

MR. BROOKMAN:  Yeah, so I guess what Mohammed is saying is the Department’s prefers to receive it in some sort of electronic media, either via email or CD.

MR. ROSENSTOCK:  Thank you.  Steve Rosenstock, again, I thank you.  In other matters it’s been send electronically but also submit a signed original, so that’s why I was just double-checking.

MR. BROOKMAN:  Thank you for that.  Okay.

MR. KHAN:  Yeah. What’s driving this effort?  The Energy Policy and Conservation Act enacted in 1975 provides the legal authority and guidelines DOE must follow to promulgate standards.  EPCA directs DOE to consider amending its energy conservations standards for equipment listed in the relevant sections of 42USC 6313 every time ASHRAE Standard 90.1 is amended with respect to this equipment.  Additionally, DOE is directed to review and adopt these standard levels equal to the ASHRAE levels unless clear and convincing evidence supports the adoption of more stringent efficiency levels that would result in significant additional energy savings, be technologically feasible and be economically justified.

So at this point, we’d like to invite anyone wanting to provide an opening statement or remark.

MR. BROOKMAN:  Brief summary statement or comments here at the outside?  No comments at this time?  Okay.  So we’re going to proceed with the content in your packet.  And first we’re going to hear from Adam Darlington.

Determination of Scope

MR. DARLINGTON:  Good morning.  I’m Adam Darlington with Navigant Consulting.  I’ll be going through the determination of scope and the test procedure updates being conducted as part of this rulemaking.  First let’s start with the determination of scope.  Basically, when determining the scope, DOE first identified any changes in ASHRAE Standard 90.1.  Basically, the DOE is looking for an increase in the efficiency levels in ASHRAE as compared to the federal efficiency levels, and then DOE also looked at the test procedures to identify updates to the test procedures in ASHRAE 90.1.

This slide is basically – it’s a little bit of what you saw, so I’ll just kind of summarize the key points, but basically the point on this slide is that previous versions of ASHRAE Standard 90.1 before the 2010 version did not cover industrial manufacturing or commercial process equipment.  The 2010 edition now covers some of that equipment, specifically air conditioners and condensing units used in computer rooms.  So DOE standards historically have not covered the industrial process equipment in the scope of its regulations.

And basically, this slide, the key point there is probably the last point in determining whether a manufacturer’s products are within the scope of DOE’s regulations, because there are a lot of similarities between the types of equipment used for comfort conditioning or space conditioning, versus the industrial process equipment.  And basically this slide is meant to convey that these determinations are going to be made on a case-by-case basis, depending on factors such as how the model is advertised, marketed, and used in buildings.

And now that brings us to the first issue of the day.  DOE is seeking comment on ways that manufacturers differentiate commercial air conditioning equipment used solely for manufacturing industrial processes, versus the type that’s used to cool buildings for comfort conditioning for occupants.

MR. BROOKMAN:  A rather broad question here at the outset.

MR. DARLINGTON:  Yes, does anyone have any kind of ideas – we’re looking for feedback or any ways that would differentiate it, that would allow DOE to differentiate between, okay, this is equipment that’s only going to be used for industrial purposes, for process cooling, versus this is equipment that’s only going to be used for comfort cooling?

DR. AMRANE:  I’m going to give this a try.  I think you have to look at the test procedure and how the equipment is being advertised.  If it’s, for example, advertised as being tested to, let’s say, in the case of AHRI 340/360, then it’s fine.  All products tested to AHRI 340/360 then should meet the minimum energy efficiency requirements of ASHRAE 90.1.  That’s how the ASHRAE standard looks at those products.

MR. BROOKMAN:  Ashley.

MS. ARMSTRONG:  Hi, Karim, so a question back to you.  What if you have the same product by two different manufacturers one that is tested to AHRI 340/360 and one that is not?  They have a difference of opinion about whether their product may or may not be covered, and it seems like ASHRAE’s scope may be fairly wide.

DR. AMRANE:  Karim Amrane again, you say it’s the same product?

MS. ARMSTRONG:  Pretty much same exact product in terms of design and functionality.

DR. AMRANE:  By different companies?

MS. ARMSTRONG:  By different companies.  One believes it may be covered, and one believes that it’s not.  What do you do in that case?  If it can be tested?  I mean, I would say scope of coverage, under DOE is – and Eric, feel free to speak up here, but it’s not determined whether it can or cannot be tested.  I mean that’s obviously one thing the Department can consider, but scope of coverage – that is not the ultimate determination.  We have a waiver process for those products that may be covered and don’t feel like the test procedure may apply to them.

MR. BROOKMAN:  Paul, go ahead.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  You know, when a manufacturer designs their equipment and markets it, it’s for a specific – generally for purposes and applications that the manufacturer deems that they can support.  The contractors in the U.S. market can take any piece of equipment and apply it in their own way, like a lot of – we’ve seen situations where Mitsubishi equipment has been used for wine cellars, which is not an intended process for that, and we’ve seen it for other things too.  It depends on where you’re looking defining, and again, there’s not a standard for wine cellars, you know, but our equipment is being used for that.  So our main intention – I think you have to look at what the company’s main intention is, and their main application is for that product.

MR. BROOKMAN:  In their product literature?

MR. DOPPEL:  In their product literature and how they’re supporting that.

MR. BROOKMAN:  Ashley.

MS. ARMSTRONG:  So are there – let me open this up to anyone.  Are there certain characteristics that would be defined in the product literature that makes it more for industrial applications as compared to commercial building type applications?
		MR. BROOKMAN:  Karim.

DR. AMRANE:  Karim Amrane.  It could be rating conditions.  I mean, obviously, if you’re selling a product for industrial processes you would have different rating conditions, so in my opinion, it is what I said.  If a manufacturer is advertising this as an air conditioner and publicizing the ratings based on AHRI 340/360 which is covered by DOE, then they should meet the minimum for those standards.   Now if it’s different application, industrial process, then it’s different.

MR. BROOKMAN:  I think that’s what the Department was hoping for.  Other simple descriptions of how these systems would be differentiated?  Or thematic descriptions of how these systems would be differentiated?  Okay.  Let’s proceed.

MR. DARLINGTON:  And as I just mentioned on one of the previous slides, previous versions of ASHRAE Standard 90.1 didn’t cover equipment that’s used primarily to provide industrial manufacturing commercial process cooling.  ASHRAE Standard 90.1 in 2010 expanded its scope and now includes air conditioners and condensing units used in computer room applications.  In the Notice of Data Availability which DOE published on May 5, 2011, DOE tentatively concluded that it has the authority now to cover computer room air conditioners with the increase in scope in ASHRAE Standard 90.1.  DOE has reiterated that position in its NOPR.

In addition to the computer room air conditioners, DOE looked at the other products for which ASHRAE Standard 90.1 increased its efficiency levels, and this process shown here – the one exception being on this slide that for single package vertical air conditioners and heat pumps, ASHRAE Standard 90.1 2010 did not contain increased standard levels, but they were included in the NODA phase due to a separate requirement in EPCA to review those products.  And this slide also shows DOE is proposing to adopt the ASHRAE levels for all of the equipment classes shown here on the slide, again with the exception of the single package vertical air conditioners and heat pumps for which a separate rulemaking is being conducted.

MR. BROOKMAN:  Yes, Karim.

DR. AMRANE:  Karim Amrane, AHRI.  Regarding single package vertical air conditioners, ASHRAE did amend the standards for those products, although those were not included in the 2010 revision, but they were included as an addendum to 2010 version, and the intent was for DOE to look at that as part of this rulemaking.  I understand the nuances here, but we, as an industry, we do want DOE to review those levels as well as part of this rulemaking.

MR. DARLINGTON:  Yeah, and in light of the addendum that came out for the SPVUs, I think, and I can let DOE speak to this, but traditionally, they review it on the three year cycle when the full version is released, so – and I believe that was a little bit after, so that’s the reason.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  Yes, just as an FYI, following with Karim, I know those have been approved by the board and I think they’re in the supplement, aren’t they?  Yes, they – so ASHRAE’s publishing a supplement to 90.1 2010 where those levels will be included as an appendix list.  So, officially it’s not the – it wasn’t version 2010, but it will be definitely published in the 2014, and basically it’s a supplement to the 2010 version where those levels are included.

MR. BROOKMAN:  Thank you.  Karim.

DR. AMRANE:  If I may add, Karim Amrane, AHRI, I guess we would like DOE to consider those levels during this rulemaking that you’re doing right now, seriously consider those levels

MR. BROOKMAN:  Thank you.  Ashley.

MS. ARMSTRONG:  Hi Karim.  So one of the things that’s specific to us … is the statute requires DOE to do a rulemaking within a – added to EISA, as a separate provision that requires DOE to do a separate rulemaking regardless of whether ASHRAE acts, so we are doing the separate rulemaking as part of that.  We will take into consideration that it’s there, that’s just why it’s not in this rulemaking.

MR. BROOKMAN:  And that is for single package vertical air conditioners?  Okay.  Additional comments – that slide, I think, is well written and very descriptive.  Additional comments related to that slide?

MR. DARLINGTON:  Okay.  So we’ll just move on.  This slide basically shows the reasoning for the proposed adoption of the ASHRAE Standard 90.1 2010 levels for these equipment classes.  You can see that under the first bullet, there are very minimal energy savings for a few classes of equipment, the water cooled, evaporatively cooled equipment classes, as well as those two particular sized classes of VRF heat pumps.  For computer room air conditioners, though, there is a lack of clear and convincing evidence that more stringent standards would be justifiable.  This was due to several factors, including the uncertainty in the efficiency data, sort of a lack of efficiency data available since these products weren’t previously regulated.  Uncertainty in the price-efficiency relationship which we’ll discuss a little bit later, once we talk about that, the inability to assess future changes in equipment efficiencies, and then the lack of shipment information for the United States – and again, we’ll touch on both of those later when we talk about the analysis for computer room air conditioners.

And then as we mentioned on the previous slide for SPVU – or single package vertical air conditioners and heat pumps, the analysis is part of a separate rulemaking.  So this slide –

MR. BROOKMAN:  Hang on.  Paul, please, go ahead.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  The inclusion of the room – the computer room air conditioners brings up a question in that Mitsubishi Electric has manufactured a certain product type that over the years has been used in server rooms and things of that nature.  So, is there going to be a clear definition of a system that’s called a computer room unit, because again, our systems are established as comfort air conditioners, but because they have capabilities to operate at low ambient conditions in cooling, they have been used for many years in those type of applications.

MR. DARLINGTON:  Right, and it’s difficult to come up with a definition that clearly distinguishes between those products that can be used in comfort conditioning and also are sometimes used in applications for computers. We’ll discuss that a little bit later on when we talk about the proposed definition, and you’ll see DOE’s proposed definition – we’ll ask for comment at that time.

MR. BROOKMAN:  Yes, Eric Stas.

MR. STAS:  Eric Stas, DOE.  I mean that’s an area where we would specifically invite comments to help us come up with an objective and robust definition for that term, so as much as just reacting to what we put out there, we’d really like your input to help come up with an objective distinction.

MR. BROOKMAN:  Paul Doppel.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  I just wanted to make sure that, you know, a product like that wasn’t going to be sort of required to meet both standards, just because it’s being used.  Again, if we don’t promote it, but it’s used in that fashion, that’s the question that we have.

MR. BROOKMAN:  Ashley.

MS. ARMSTRONG:  I think when we get to the definitions part, the definitions for VRFs are right before the definitions for computer room air conditioners.  If you read them as not being mutually exclusive, like in other words, there could be some overlap, please point that out to us.  Because I don’t think the intention would be two standards for the same product.

MR. BROOKMAN:  Thank you, that’s helpful.  Yes.

MR. DARLINGTON:  And so now this briefly summarizes the analysis for water-cooled and evaporatively-cooled air conditioners.  The potential energy savings analysis was done as part of the May 5, 2011 NODA that I alluded to earlier.  And basically the results of the potential energy savings analysis was a very, very minimal amount of energy savings above the ASHRAE Standard 90.1 2010 levels, which is why DOE is proposing to adopt those levels.

And then similarly, with the variable refrigerant flow water source heat pumps above 135 kBtu per hour, DOE conducted a potential energy savings analysis as part of this NOPR and the details of that are in the TSD.  Some of the details are shown on this slide, but essentially the sum of the national energy savings for standards exceeding ASHRAE Standard 90.1 2010 were again found to be minimal.  So that takes us to the end of the determination of scope, and if there are no comments, we’ll move on to the test procedure section.

MR. BROOKMAN:  Additional comments on determination of scope?  Okay.

Test Procedures

MR. DARLINGTON:  Very briefly here.  This slide shows that EPCA requires DOE to amend its test procedures to update them to the most recently accepted industry standard, as referenced in ASHRAE Standard 90.1 2010, obviously, unless the Secretary determines that clear and convincing evidence exists that it would not meet the requirement for test procedures in EPCA.  Those requirements are shown in the third bullet on this slide, that they be reasonably designed to produce results reflecting energy efficiency or energy use and that they not be overly burdensome to conduct.  And in addition to that, EPCA requires DOE to conduct an evaluation of its test procedures for the covered equipment at least once every seven years.

And DOE reviewed the test procedures in ASHRAE Standard 90.1 2010.  Now in reading those test procedures, DOE found that ASHRAE Standard 90.1 2010 updated its reference test procedures for a number of test procedures.  So the first group of test procedures here on the slide are the ones that DOE is proposing to update to the most recent version.  Basically, for all of these test procedures, DOE reviewed the changes in the new version of the test procedure as compared to the old version of the test procedure to see if anything would greatly impact the energy efficiency ratings of those equipments, or add to the burden of the test method.  In all of these cases, DOE found that the changes were relatively minor and that they still met the requirements of EPCA for test procedures, so DOE is proposing to adopt the updated test methods.

And for the test procedures listed in the second bullet, DOE is also proposing to adopt test procedure AHRI 390 for single package vertical air conditioners and heat pumps.  AHRI 1230 with Addendum 1 for VRF multi-split systems, and ASHRAE 127 for computer room air conditioners.

MR. BROOKMAN:  Question.

MR. DOPPEL:  Paul Doppel with Mitsubishi Electric.  On the 1230 standard, I think there’s – it’s not real clear when you read through here – one of the things that we did when we developed the standard was to include systems that we called VRF that are less than 65,000.  So there’s a broad range of products, as well as a water source, and, you know, so in essence, these would be systems that are covered, the multi-split systems less than 65 would then be removed, sort of, from 210/240 and brought into – underneath 1230.  That is what we would hope would come of this.

MR. DARLINGTON:  This would apply only to the commercial equipment classes.  So as far as residential –

DR. AMRANE:  Correct, we’re not thinking about the residential right now, we’re thinking about related 65 three-phase product here, that –

MR. DARLINGTON:  Yes, DOE –

DR. AMRANE:  -- covered within 90.1.

MR. DOPPEL:  Commercial.  When you say commercial that usually is – there’s an implication that’s three-phase.

MR. DARLINGTON:  Right.

MR. DOPPEL:  So the equipment we’re talking about is single phase less than 65.

MR. BROOKMAN:  Thanks, Paul.  Was that clear?

MR. DARLINGTON:  Not sure.  So are you asking specifically about the single phase less than 65?

MR. DOPPEL:  Right, because those are covered by 1230 standard also.

MR. BROOKMAN:  So, Paul, would you restate what – what you’re trying to accomplish here?

MS. ARMSTRONG:  Quick question before –

MR. BROOKMAN:  Ashley Armstrong.

MS. ARMSTRONG:  -- Ashley.  They are covered under a waiver now?  Are they currently covered by a waiver?

MR. DOPPEL:  They were at one time, but I think it was three, at least three years ago, there was a rulemaking that had multi-split systems --

MS. ARMSTRONG:  Correct.

MR. DOPPEL:  -- put under 210/240 and waivers were removed.  So now with the 1230 standard, the 1230 standard covers testing of systems less than 65,000, with all the appropriate references that would be needed to do that.

MS. ARMSTRONG:  Okay.

MR. DARLINGTON:  Yeah, this rulemaking is only going to cover the three-phase commercial equipment, so I believe that single phase equipment under 65,000 would be classified with the residential product category.

MS. ARMSTRONG:  So –

MR. DARLINGTON:  So this would not update the test method for those, right.

MS. ARMSTRONG:  Right, and to change it from 210/240 you need a waiver, unless we address it in the central air conditioner test procedure rule.

DR. AMRANE:  I think it has already been addressed.

MS. ARMSTRONG:  Correct.

MR. BROOKMAN:  Okay, Karim, thank you.  Paul, did we resolve that?

MS. ARMSTRONG:  Kind of.

MR. DOPPEL:  I’m continuing to listen.

MR. BROOKMAN:  Okay, that’s probably a good practice. Do you have anything to add at this point?

MR. DOPPEL:  No, I think I’m okay.

MR. BROOKMAN:  Yes, please, Gary.

MR. NETTINGER:  Gary Nettinger, Panasonic Air Conditioning.  Following up to Paul Doppel’s comment, the VRF multi-split product below 65 is designed virtually identical to that product above 65.  The phase is the main difference.  So longer term, what would be the process for us to get that type of product incorporated into a commercial?

MR. DOPPEL:  Paul Doppel with Mitsubishi Electric.  I think the – we sort of put the testing procedures for those products in 1230, and the 210/240 I don’t think adequately addresses the VRF type product, because that’s – I mean it was, I think at AHRI was considered that that product would fold under the 1230, because since we wrote the 1230 to include those products.

MR. NETTINGER:  And the testing process is, of course, different between 210/240 and 1230.

MR. DOPPEL:  Well, the testing – for variable systems – for variable speed equipment and for VRF multi-split under 65, the testing is essentially saying what is lacking in 210/240 is how to deal with multiple indoor units, and that’s covered in 1230.

MS. ARMSTRONG:  And so – this is Ashley – and 1230 you get out for single phase units, a SEER … comfort three phase unit in EER metric?

MR. DOPPEL:  Yes, it’s all covered.  Yes, it’s all covered in 1230.

MS. ARMSTRONG:  Okay.  So maybe a couple different processes, but we hear what you’re saying what we have to deal with.  We deal with residential separate than commercial.  This rulemaking is going to be commercial three-phase, residential may be separately, but we hear what you’re saying and we can figure out where to go from here.

MR. DOPPEL:  Right.

MR. DARLINGTON:  Okay.  I’ll just go on to the last bullet of this slide.  Basically, it’s to clarify certain AHRI and ASHRAE test methods that are being adopted or updated here contain certain tolerances that allow the published ratings to be within a certain percent of the measured ratings.  For example, some of them read that measured test results shall not be less than 95 percent of published ratings.  I just want to clarify here that DOE does not intend to adopt those provisions when it updates the test procedures.

MR. BROOKMAN:  Yes, Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock.  I haven’t looked at the test procedures but aren’t they, just because I’ll say, of testing equipment, variations, that usually isn’t there – a lot of equipment that I’ve seen, it’s plus or minus x percent in terms of your final accuracy.  So again, let’s just say 13 SEER or whatever EER, there is going to be some plus or minus in there just because of the accuracy of the test equipment.  This seems to indicate, this slide, you know, I may be – it looks like, we’re not going to allow any tolerance, so – and that’s not good.

MR. DARLINGTON: DOE establishes its own tolerances as part of the certification program, and Ashley can – if you have anything to add on to that?

MR. BROOKMAN:  Ashley.

MS. ARMSTRONG:  We do have tolerances, and they are meant for just that.  We recognize that there is unit to unit variation coming off the line, there’s the variation inherent in test equipment, there’s variation inherent in lab to lab variability.  There are tolerances.  They are product specific, and we have them across the board for all the testing manufacturers made for certification purposes.  We just want to make clear that our tolerances are in Part 421, they’re applicable to this equipment, and there are some – there is some language in the test procedures being incorporated by reference that is not completely consistent.  It’s not exactly the same as we do apply our tolerances, so we want to make clear that our tolerances are different.  It doesn’t mean that you can have an additional tolerance, or one in lieu of the other.  But DOE does have separate tolerances as we recognize the need for them.

DR. AMRANE:  And what are they?  Karim Amrane with AHRI.  Tell us the tolerances that you have.

MS. ARMSTRONG:  So it’s not as simple as the five percent.  It’s based on the unit to unit variation, but effectively they’re based on the 95 percent confidence level which if you take two identical units could correspond to close to five percent.

DR. AMRANE:  But again, you are applying something that was developed for white goods and appliances 30 years ago to commercial product, and I don’t think it’s applicable here.

MS. ARMSTRONG:  So if you have suggestions on how –

DR. AMRANE:  Keep those tolerances in AHRI standards, absolutely.

MS. ARMSTRONG:  Okay.

MR. BROOKMAN:  Mohammed.

MR. KHAN:  Mohammed Khan, DOE.  Karim, we definitely appreciate that and recognize that there definitely could be differences in what would be the applicable appropriate tolerances, and to come up with that accurate or appropriate tolerance level would definitely require some significant testing.  So if, as you said, if you would provide something based on some testing, that would be really great for the Department.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock –

MR. BROOKMAN:  Steve – let Karim follow on.  I’m sorry.

DR. AMRANE:  Karim Amrane, AHRI.  Again, I put the question to DOE, have you done any testing that shows that the five percent tolerance that we have at AHRI still is not appropriate, and when you compare the tolerances with what DOE has in its own regs, have you done some testing?

MR. BROOKMAN:  Ashley.

MS. ARMSTRONG:  Yes.

DR. AMRANE:  Tell us.

MS. ARMSTRONG:  So some of the testing I can’t share those results yet because it’s not public, but yes, we’ve done some testing.  I think some of it’s going to be unit specific or model specific as to what the results may show.  Some may show quite a bit wider variability than the five percent, others may show a smaller variability.  And like I said, we welcome comments as to why they should be different tolerances, in terms of the level, the 95 percent confidence level, the 98, the 97 are product-specific.  They’re meant to apply the product specific variability inherent within that product.  They’re not all – some of our lighting products that are high volume, pretty streamlined manufacturing, are at 99 percent tolerance level.  That is not something we have adopted for commercial equipment.  We would recognize the differences there.

DR. AMRANE:  If I may follow.  Karim Amrane with AHRI again.  Those products were regulated since 1992.  The five percent tolerance in the HR still has been there even before 1992.  Why is it that DOE now, suddenly, is changing the game?

MS. ARMSTRONG:  I would say that, you know, in 2006 we adopted … for certification testing and enforcement testing for commercial equipment.  As part of that rulemaking, we went through all this with different types of tolerances.  That rulemaking had been going on for a number of years, and it set up those tolerances then.  We have never had the AHRI five percent tolerance in our regs whole heartedly.  What we did have there was – and it wasn’t – that’s how you run your verification program, and that is up to you guys.  But when manufacturers do their testing for certification purposes, there are tolerances, they’re now effective in Part 429, and they have been around since 2006, that people should be using.

MR. BROOKMAN:  Hang on one second.  Are you, Karim, nothing additional?  Steve I want to finish this stream out here, okay?  So Robert, please.

MR. WILKINS:  Robert Wilkins with Danfoss.  Let me preface my comment by saying I’m not taking sides.  I’m not saying one way of doing it is better than the other way of doing it.  But I would urge that DOE work with industry to resolve and to come up with a common set of tolerances so that, for goodness sake, we don’t come out of this rulemaking process with two separate sets of standards, and two separate purposes.  So, I’m just urging DOE to work with the industry to find a solution and find tolerances that are practical and workable, rather than having two separate sets.

MR. BROOKMAN:  Any additional comments on this subject, because we’re about to move on?  Steve Rosenstock.

MR. ROSENSTOCK:  Thank you.  Steve Rosenstock, EEI.  We normally don’t comment on test procedures, but I’m just thinking, just based on this discussion that, you know, if, I’ll say the DOE tolerances are a lot higher confidence level, let’s say it’s 98, 99 percent in terms of some of the certain products, there are additional costs to manufacturers and at some point is going to be reflected in probably the cost of the products, so in some ways I can understand, well, you know, maybe there’s a thought that we need to test to a tighter tolerance to make sure we’re getting those energy savings, but the end result could be, if those costs go up to the consumers for the higher efficiency product and an increase in incremental cost, again, laws of unintended consequences is you raise the initial price, fewer customers are willing to make that incremental investment for that higher efficiency savings.  So again, just down the road, a possible unintended consequence of I’ll say, two different tolerances meeting separate tests for certification versus DOE.  Thank you.

MR. BROOKMAN:  Warren.

MR. BEETON:  Warren Beeton, Emerson.  I’d also add that the DOE process is a snapshot in a short period of time compared to what AHRI’s analysis of test tolerance requirements are, product standard tolerances has been done over years, as Karim said.  So there’s a risk for DOE on both sides of being too tight or too wide, because they’re looking at a very limited test set in a limited period of time.  So I would encourage DOE to strongly consider what the industry has already established as the best set of tolerances to use.  And also, I assume that DOE – and this is a question – will DOE be showing what they are going to propose and the analysis behind it for discussion before trying to set tolerances.

MR. BROOKMAN:  Hold on for a minute.

MS. ARMSTRONG:  Can I answer that real quick before you move on?

MR. BROOKMAN:  Ashley, please.

MS. ARMSTRONG:  So our tolerances are adopted.  They’ve been adopted since 2009, I mean 2006, and they’ve been established for the commercial HVAC equipment.  To Steve’s point, I believe off the top of my head, I don’t have the CFR in front of me, I don’t believe there’s anything tighter than the manufacturer’s 95 percent confidence for the equipment we’re talking about to here.  Some cases I believe it’s a little bit broader than that, but that’s just off the top of my head.  We did that through the rulemaking process.  That being said, we’re happy to work with Karim and industry to see if they need to be revisited.  I don’t know that we will do it in this proceeding, but we will definitely look at that.

MR. BROOKMAN:  Warren, you want to follow on?

MR. BEETON:  Were those tolerances different than AHRI tolerances?

MR. BROOKMAN:  Ashley?

MS. ARMSTRONG:  The way we do our tolerances is not a flat five percent.  It’s based on the variation of the sample that was tested.  So yes, the way it’s done is different.

MR. BEETON:  My question wasn’t the way it is done, my question was are the tolerances that you ended up with different than what AHRI uses in its standards?

MS. ARMSTRONG:  What I said is you can’t apply five percent equally.  In certain cases, depending on the variation of the sample, the five percent doesn’t go across the board, because if you use a 95 percent confidence limit, it’s going to depend on the distribution of that sample.  So it’s not just a five percent on top of the standard.  It could be tighter or looser depending on the variation in that sample itself.

MR. BROOKMAN:  Paul Doppel.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  The five percent standard has been around for a number of years and here’s the real implication for this.  Manufacturers have known this five percent, and so when they’re developing, designing systems, they look for ways to come up with consistency within a certain level.  And then that design has to be developed into an assembly process, and that assembly process, those things have to – everything has to work together to be within that tolerance.  So if there’s a variable tolerance, I mean, it’s like Russian roulette.  And if  you’re going to make something tighter, then manufacturers have to go back and spend significant amounts of money to review all their process, review all their designs, and what Steve Rosenstock said, is exactly what’s going to be true.  Even for the standard efficiency products, especially with those, because there’s no tolerance less than the minimum, then the products are going to be almost out of reach because, you know, manufacturers have to have certainty about what they are doing when they do their designs, do their manufacturing processes.  And this does not provide that at all.

MR. BROOKMAN:  Karim.

DR. AMRANE:  Karim Amrane, AHRI.  I guess I would like to add that those DOE tolerances were not developed for commercial products.  I don’t think DOE did any analysis on those products.  I think they adopted what was done for white goods and consumer products.  Again, commercial products are very different and I think they need special attention.  Now, the idea to do over the tolerance without changing what DOE has today is not going to be acceptable to industry.  Somehow those have to go together.  If you want to use the 95 percent AHRI standard, you will have to address that standard in the DOE regs at the same time.

MR. BROOKMAN:  Any additional comments?  Okay.

MR. DARLINGTON:  Okay.  Moving on.  A number of comments that DOE is – a number of issues that DOE is seeking comment on, I know we had a lot of discussion about the tolerances, but here DOE is also seeking comment on its proposed adoption of the test procedures that we went over on the previous slide, so if anyone has any general comments about those test procedures or DOE’s proposed adoption of them, now would be the time.

MR. BROOKMAN:  Joanna Mauer.

MS. MAUER:  Joanna Mauer.  So I want to comment on the proposed test procedure for the computer room air conditioners and I don’t pretend to be an expert on computer room air conditioners, but my understanding is that these products essentially are always operating at part load in the field.  But I think DOE notes in the NOPR that the SCOP metric doesn’t capture part load performance.  And so my understanding is that the SCOP metric doesn’t well reflect how these products are actually performing in the field.  And I also understand there can be significant energy savings from variable speed fans, for example, and those technologies might not be captured in the SCOP metric.  So I don’t have a specific recommendation at this point, but we’d urge DOE to consider a test procedure that does capture part load performance.

MR. BROOKMAN:  Okay.  Thank you.

MR. DARLINGTON:  And just a note.  So DOE is proposing this because this was the industry standard adopted by ASHRAE.  I noted our concerns with the part load operation and the variable speed, but I think it’s a similar situation for all other commercial products are rated using an EER metric.

MR. BROOKMAN:  Joanna.

MS. MAUER:  So I guess, you know, DOE does have the ability – DOE certainly has to look at the ASHRAE test procedures, and I understand that.  I think DOE does have the ability to make changes if the test procedures don’t do a good job of representing the actual performance of the products.  I think the products, you know, we’d like DOE to adopt the IEER metrics that are also an ASHRAE standard which capture part load, but that’s a separate issue.

MR. BROOKMAN:  Do you think that in this case that what DOE is proposing doesn’t reflect real world conditions?

MS. MAUER:  Yeah.  That’s right.  And because of that, DOE can’t capture these technologies that will have significance in the field, but the benefits won’t be reflected in the test procedure.

MR. BROOKMAN:  Karim.

DR. AMRANE:  Karim Amrane, AHRI.  I guess to answer your question, I think right now that’s the only test procedure available, that’s the ASHRAE standard and I think DOE has, well, is basically adopting what ASHRAE has done.  But in the future we are, the AHRI, are putting together a product section on data centers and we will be writing a standard and that standard will definitely have a part load metric eventually.  So I think it’s for maybe the next round, eventually that one day there will be a test procedure to look at, I think, it would be a good idea too.

MR. BROOKMAN:  Do you have a time table for that, Karim?

DR. AMRANE:  Again, no, we’re just putting the product section together, you know, when the standard will be written, I don’t know, but I –

MR. BROOKMAN:  Will it be a three year cycle?

DR. AMRANE:  Oh, yes, it will be before the three year cycle.  Yes, for sure.

MR. BROOKMAN:  Mohammed.

MR. KHAN:  Mohammed Khan, DOE.  And of course, the Department will consider whatever potential benefits there really would yield from that revised test procedure, versus whatever potential additional burdens there may be as well, in making its determination as to whether it makes sense to adopt it.

MR. BROOKMAN:  Additional comments?  You see three issues boxes here.  The Department is seeking comment on all of these test procedures and also adoption of the new test procedures.  So any additional comments because we’re about to move on from here.  And of course, if you come up with more, the Department would like details in writing.  Okay.

MR. DARLINGTON:  All right?

MR. BROOKMAN:  Yeah.

MR. DARLINGTON:  So this test procedure, this slide basically relates to DOE’s efforts as it is testing equipment.  DOE sometimes receives ad hoc requests to tailor the test procedures during the testing set up and operation.  This slide is basically to provide general guidance that for DOE’s efforts, the Department only uses conditions that are specified in the DOE test procedures or that is presented in the installation operating manuals, and DOE is not currently using any additional information.

Now DOE just wishes to harmonize the way it conducts its testing, with the way that the testing is being done by manufacturers and independent test labs.  And that brings us to the next issue, which is, you know, for these given test procedures that we’ve discussed, are there additional settings, other additional tolerances and specifications in the test procedure where more information would help DOE to replicate the tests and the ratings that are being achieved in those tests?

MR. BROOKMAN:  Adam, will you go back to the preceding slide?  Please?  Twenty-two.

MR. DARLINGTON:  Sure.

MR. BROOKMAN:  Let’s just give everybody a chance to digest this.

MR. DARLINGTON:  So it’s a lot written on the slide, but the basic point that it’s conveying here is that, what I just said basically, that the Department’s only going to use, and is only using, you know, information in its test procedures and in the installation manuals.

MR. BROOKMAN:  Okay.  Karim.

DR. AMRANE:  Karim Amrane, AHRI.  As you know, AHRI runs certification programs, verification programs and has been running those for many years, and it is true that every program that we run we have what we call an operational manual.  It’s documented, describes the verification program, and in those documents sometimes there are clarification about test procedures and how to run the test.  And to the extent that this could help DOE, then we are going to encourage DOE to look at those documents and to adopt them, reference them, any way DOE can, absolutely.

MR. BROOKMAN:  Paul.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  I think, especially in the case of VRF systems, it would be essential to adopt also the – or incorporate the operations manual because that provides good guidance in there, additional guidance on how to set up the systems and what things are required by the manufacturer in order to do the testing.

MR. BROOKMAN:  Okay.  Additional comments?

MR. DARLINGTON:  Okay.  This brings us to the break-in provisions.  So in DOE’s review of AHRI’s certification program that Karim just alluded to, DOE discovered that AHRI allows for a compressor break-in period for its certification program for commercial equipment.  Basically this allows the compressor to warm up to achieve optimum performance, and DOE believes this is more representative of the performance in the actual field, so DOE is proposing to allow manufacturers optionally, at their discretion, to use this break-in period.  Now DOE is proposing the break-in period be allowed up to 16 hours to break in the product, and if manufacturers do choose to use this optional period, DOE would require them to report the length of time used to break in the product.

And DOE is seeking comments about the use of this compressor break-in period as part of the AHRI test procedures which it’s adopting, and about the need for this break-in period.

MR. BROOKMAN:  Warren.

MR. BEETON:  Is that break-in period the same as what we allow, Karim, do you know?  It is.  Okay.  The break-in period is absolutely required for compressor – to stabilize compressor performance and efficiency.  That would be my comment.

MR. BROOKMAN:  Thank you.  Karim.

MR. AMRANE:  Karim Amrane, AHRI.  I think we would support that proposal.

MR. BROOKMAN:  Thank you.  Great. Additional comments on the break-in period.  Going on.

MR. DARLINGTON:  And moving on.  Again, a lot of language on this slide, but I’ll just summarize quickly.  So AHRI 1230 for VRF systems, DOE reviewed it and found certain provisions that allowed for or required manufacturer assistance in conducting the test.  So DOE, basically, the purpose of this slide is to facilitate some discussion so DOE can learn more about how these systems operate and achieve steady-state conditions for testing, and DOE is interested, I guess, sort of somewhat limiting the manufacturer’s role in the testing so that independent and repeatable tests could be achieved without as much manufacturer involvement.

And so that brings us to the comment request, issue number nine, DOE is seeking comment about the testing conditions, operating points, test set-up, anything else for the VRF systems that would allow DOE to run the test independently.

MR. BROOKMAN:  Paul Doppel.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  You know, I think we have to take a look at really how these systems operate and then how we came up with the testing for them.  And VRF, or variable speed, variable refrigerant flow, or variable speed systems, all the sensors, everything within the system is providing information to the inverter drive or to the intelligence in that system to tell the compressor to move to speeds, change speeds to achieve the optimum to provide the necessary heating or cooling for that condition.

However, when we do the testing, when we set up the testing, what we had to do was use something that was sort of equivalent with what the unitary manufacturers were doing so that we could provide similar ratings, similar efficiencies.  We requested waivers from AHRI standard 340/360, which was based on EER and COP and IPLV at the time, which has changed to IEER.  So in doing those, what we’ve ended up having to do is to – and this actually also applies to systems less than 65,000, where we have to do five tests to determine SEER and five tests to determine HSPF.  But all of these, whether it’s the below 65 or greater than 65, we’re having to fix the compressor speed which is fully intended, when the system is operating, to float.  So this creates additional stabilization issues within the system, and in some, many cases it takes longer to test these systems, and actually they’re not operating as efficiently as they would if they were allowed to float freely.

So, that’s kind of the background on how we got to where we’re testing these standards.  So with the VRF systems, and even with the multi-split systems less than 65, these are complex systems and it’s not like taking a five ton or a 20 ton rooftop unit and rolling it into the test room and attaching the thermostat and some duct work and running it.  These systems have to be fully assembled, could have up to three outdoor units that have to be put together.  You could have up to 12 indoor units that would have to be put together.  You have all the piping, all the wiring joining those together, so there’s – you have to make sure that the systems are functioning properly from a mechanical perspective, and also on a control basis.  And each of the manufacturers has a different type of control.  Each of the manufacturers does heat recovery differently.  So there’s a lot that goes into setting up and running these systems.

You know, a rooftop system can be set up and tested almost within one shift at the Intertek or whatever lab.  VRF systems take sometimes more than two shifts of work just to set the system up to be tested.  So it’s extremely complex, and there has to be verification that the system is operating properly, and each manufacturer has special diagnostic tools to be able to go in there.  So that – these diagnostic tools require special training.  And so, to do these tests and it’s just – I don’t think it’s possible to be able to independently set up one and test one of these systems without the manufacturer there, not only to verify the setup, but also to provide assistance in making sure that the system is operating properly, to properly set the conditions for each of the tests that are being conducted, and then also to provide assistance if there’s issues in stabilization of system operation.

MR. BROOKMAN:  Yes, Gary.

MR. NETTINGER:  Gary Nettinger, Panasonic.  I, as a manufacturer of VRF equipment, I appreciate the Department’s interest to take the manufacturers’ involvement out of the testing process to insure consistency, but with this type of product, as Paul Doppel mentioned, the equipment is constantly fluctuating.  Without the manufacturer’s intervention to fix the compressor speed, I don’t believe that steady state could be achieved in a test facility.

MR. BROOKMAN:  Is that what the manufacturer’s doing?

MR. NETTINGER:  They’re fixing the compressor speed.

MR. BROOKMAN:  Speed.

MR. NETTINGER:  So that we can achieve –

MR. BROOKMAN:  They’re not doing other things as well?

MR. NETTINGER:  No, motor speed only.  And that’s defined in the operations manual of 1230.  Also I think it’s important to have the manufacturers’ involvement to oversee the installation of the equipment.  There are so many distribution joint kits and restrictions on the piping, we need to be sure that ITS or whatever the test facility that’s testing the equipment is doing it the same way it’s designed to be installed and the same we’ve tested it in our own facilities, otherwise, there’s no way that we would be within tolerance.  So manufacturers have to be involved, at least at this time, I believe.

MR. BROOKMAN:  Okay.  Paul.

MR. DOPPEL:  Paul Doppel, initial comment on the testing.  The collection of the data is extremely important and again, the comparison to a rooftop, you have one point of air flow.  With VRF systems, you could possibly have 12 points of air flow that have to be gathered together, or tested individually, in order to get the proper capacity measurements.  And if that’s not done properly, and if there’s not agreement that it’s being done properly, then it’s really not an adequate test.  And Intertek has worked with AHRI in setting up the testing procedures and the collection.  In fact, there’s another meeting that’s going on with the engineering committee of the ductless products section to further that comparison of testing – collection data to make sure that those things are being adequately measured.

Now, at AHRI, you know, the fact that manufacturers are present for these conditions is something that has been in this 1230 standard, and non-VRF manufacturers, you know, like Carrier, Trane, Lennox, Johnson Controls or Emerson or all other manufacturers that are present there, have been – have seen this and these test standards have been approved.  So what we do is deemed to be equal with every other test standard, and it’s passed the scrutiny of all other manufacturers, otherwise we would not have been able to have had that test standard approved.  So it’s an accepted practice at AHRI by all the manufacturers.

MR. BROOKMAN:  Okay.  Warren.

MR. BEETON:  Our company – Warren Beeton, Emerson.  Our company also makes compressors that are used in these products, they’ve variable capacity and our experience is exactly what we’re hearing from our customer base here.  In fact, I go so far to say if you did not have the manufacturer involvement, I think that would be counterproductive to try to achieve good test results, which we’re all interested in.

MR. BROOKMAN:  Okay.  Thank you.  I thought that was covered pretty thoroughly there.  Final comments before we move on?  Did we get all the issues that you wanted covered, Adam?

MR. DARLINGTON:  Yes.

MR. BROOKMAN:  Okay.  Let’s move on.

MR. DARLINGTON:  So that actually ends my segment.  Are we scheduled for a break now?

MR. BROOKMAN:  Yeah, let’s take a break now.  Now is a good time.  It’s ten minutes after ten.  For those of you that aren’t familiar with the Forrestal Building, you must wear this badge in a visible spot above your waist in the building.  There are rest rooms on both ends of the hall.  There’s a coffee shop down on the ground floor directly down the elevator shafts, just about where we’re situated here, across the hallway.  We’re going to break for 15 minutes, which means we’ll resume at 10:25.  For those of you who are joining us via the web, I’m glad you’re still with us.  We’ll try and keep you engaged and answer questions as that opportunity presents itself.  We’ll resume at 10:25.

(Whereupon, at 10:10 a.m., the meeting was recessed for a 15 minute period.)

MR. BROOKMAN:   Okay.  Let’s resume.  I should start by saying I thought the discussion this morning was very productive, and so that’s appreciated by the Department.  Thanks to all of you for doing that.  We’re going to proceed with the next content area, which is market assessment and engineering analysis.  All of you have this content in your slides.  We’re going to hear from Knute Svenson.

But before we do, I’ve been asked to tell those that are joining via the webinar that our webmaster has already sent those of you – there were questions about how you access the slides, and still participate in the webinar, and our webmaster has sent you a direct link so you ought to be able to toggle that direct link and pull up those slides for those of you that haven’t already done so via the web.

Okay.  So now we’re going to hear from Knute Svenson.

Market Assessment

MR. SVENSON:  Okay.  My name is Knute Svenson.  I’ll be talking about the market assessment and engineering analysis in today’s presentation.  As you can see, we’re on the second stage of (adjusting sound) – sorry – as you see, we’re on the second stage of the rulemaking.  On the first stage we talked about the NODA, that DOE released the Notice of Data Availability on May 5, 2011.  In that document, DOE presented its preliminary energy savings analysis.  Then DOE will take your comments today and any comments you submit and revised the analysis in the NOPR, and come out with a final rule some time later this year with an effective date three or four years after that.

To begin the market assessment, DOE conducted a market assessment for those equipment classes DOE determined were within the scope of review.  The purpose of the market assessment is to determine the available equipment efficiencies, manufacturers, and shipment information.  DOE looked at three main sources for this information, the AHRI directory of certified product performance, the CEC appliance efficiency database, and individual manufacturers’ websites.

Now, for computer room air conditioners, which is basically the subject of the bulk of the presentation, DOE got all its information from the CEC database and individual manufacturers’ websites, because AHRI doesn’t currently have a separate database for computer room air conditioners.

As always, if you want more details and descriptions of the methodology and results for the market assessment, please refer to chapter two of the NOPR TSD.

Now I will get into definitions.  There is no current formal definition for VRF systems for DOE, because these product classes were not a formal subclass of commercial air conditioners.  Thus DOE is proposing this following definition for VRF systems.  This definition was taken from AHRI, ASHRAE 90.1 and AHRI 1230.  I don’t know if anyone needs to read the definition.  It’s pretty lengthy.

Then on the next slide we have a definition for VRF multi-split heat pumps and for heat recovery, a unique aspect of this equipment class.

MR. BROOKMAN:  Just pause for a moment there.  Give them a chance.  Okay.

MR. SVENSON:  Next, we have a definition for computer room air conditioners.  This is a difficult equipment class to define because DOE must define an equipment class in such a way that it does not overlap with any other covered equipment class.  Computer room air conditioners pose a difficulty because they have the same mechanical components as normal commercial air conditioners, and there are no physical distinguishing elements of computer room air conditioners from normal commercial air conditioners.  Thus DOE is proposing to define this equipment based on how it’s advertised, marketed or sold, and based on the test procedure used to rate its performance.

DOE is seeking comment on the definitions we propose for the VRF systems and definition for computer room air conditioners.  Specifically, DOE is interested in whether there’s any physical features or components that allow DOE to distinguish computer room air conditioners from commercial packaged air conditioners used for comfort conditioning.

MR. BROOKMAN:  Paul.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  A concern I see when you have this definition is that you are specifically excluding the parts that are covered by standard 127 almost – it looks like you’re excluding them from being used in other applications.  And my concern is that, you know, you might say that if your product is covered by 210/240, 340/360, or 1230 should be included in this definition.  My concern is that you might say you can’t use it if you’re covered by these other standards, you can’t use it in this application, when that, in fact, would be restricting trade.  Because there are a lot of applications, there are a lot of situations where products already on the market that are not computer room air conditioners can be used in those applications.

So this definition, to me, seems to be lacking.  I don’t have something that’s off the top of my head to use here instead, but this one I have concerns with.

MR. SVENSON:  Just to clarify, I guess your main issues just the fact that we’re specifying this test procedure that’s rated?  Are you okay with the advertising sold and marketed part?  Or just the whole definition?

MR. DOPPEL:  Well, you’re saying that such equipment may not be marketed or advertised as equipment in any other space conditioning application, and may not be rated in accordance with those others.  So it just – it seems like you’re trying to provide a total exclusion of the application of these products when, in fact, they could be used in other – they possibly could be used in other applications.

MR. BROOKMAN:  Mohammed first.

MR. KHAN:  Mohammed Khan, DOE.  We certainly appreciate that concern, but again, this is a proposed definition, and what we’re really intending to do here is develop a definition that clearly delineates this product and so I appreciate the fact that you said you don’t have a proposed revised definition, if you will, at this time, but if you could think about it, and I encourage all others to do the same as well, because we understand that concern, to later come up with a suggestion that might be workable.

MR. BROOKMAN:  This gets back to the first question of the day in fact. Gary, go ahead.

MR. NETTINGER:  Gary Nettinger, Panasonic.  It’s – I guess I have a question and a statement.  First, I’d like to hear from DOE a little bit more about what the goal is of creating this product class.  And my statement is, as you’ve heard earlier this morning, we manufacture products that are frequently used in computer rooms, ATMs, small data rooms.  If we separate, or if this definition is created, I see a barrier to where we market the equipment and it’s basically going to force me to have the same product under two different categories, even though it’s identical.  One I would have for comfort cooling, and the other would be computer room applications.  They could then be rated to different standards even though it’s the same equipment.  So it’s going to be a challenge for the manufacturers.

MR. BROOKMAN:  Paul.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  Gary was talking about the one to one systems, but I mean, if you look at a VRF system, a VRF system could do a data room with one indoor unit; it could do water heating with another indoor unit; it could process outside air with another unit.  So, you know, with VRF systems there’s a lot of complexities, and I’m not trying to – I’m just saying that there’s concern again that by creating sort of barriers, saying you can’t advertise this as anything else, well, if we advertise that you can use our products in data rooms does that mean then that we have to register that as a data room product?

MR. BROOKMAN:  Okay.  Warren.

MR. BEETON:  More of a question than anything else, but from what I just heard, it sounds like there are, even for the computer room applications, there are different ways of applying a product, and so this whole venture sounds like it might not be practical to have a separate category that has a meaningful rating procedure, a meaningful standard.

MR. BROOKMAN:  Eric Stas.

MR. STAS:  Eric Stas, DOE.  Let me just try to jump in here.  I mean, when ASHRAE 90.1 in this latest version gave us standards and classes for computer room air conditioners, we’re trying to now find a way to figure out objectively which is in the computer room bucket and which is in the regular air conditioner bucket.  So we’re asking you to help us and we’re trying to help you define what’s in and what’s out.  So the concerns you’re raising are the same concerns we’re finding, and that’s why we’re asking these questions.  So these definitions are trying to help delineate things.  So, I understand your concerns, but, you know, when you say you don’t want to be rated to two standards, we’re also trying to find a way to not rate you to two standards.  So we’re all trying to get to the same end point, so don’t misinterpret.

MR. BROOKMAN:  Robert.

MR. WILKINS:  Just curious here.  Is it possible to be able to – to enable a product to be rated in one bucket or another bucket without putting any restrictions on possible use of that product.  So you leave it to the manufacturer and leave it up to competitive pressures to decide which bucket it’s rated in, but then allow it to be marketed wherever it’s technically possible to market it.  And I think if you could do something like that – if manufacturer A rated the product in this bucket, and manufacturer B had difficulty competing, that manufacturer won’t get the product rated over there.  So I think the competitive market forces can come to bear to help you achieve what you want to achieve without putting artificial barriers or restrictions in between.  Just an idea.

MR. BROOKMAN:  Provided it’s rated properly then the manufacturer could deploy that product wherever –

MR. WILKINS:  Yeah, you can buy an automobile to use as a family automobile or to use as a commercial automobile.  It’s still an automobile and it still gets 27 miles to the gallon.  It has a rating, but it can be used in either/or.  You don’t have a restriction that this must be rated as a commercial car or a residential car and therefore cannot be used in the other bucket.

MR. BROOKMAN:  Eric Stas.

MR. WILKINS:  Let me say I’m overly generalizing, but that could be a philosophy that might be helpful.

MR. STAS:  Eric Stas, DOE.  Let me just raise this point back to you.  I mean, we have two separate product classes already, one for the computer room, one for the comfort conditioning side.  The levels might vary over time.  You know, they might not be in lock step forever, so if manufacturer is given the choice, what’s to stop everyone from suddenly making their product rated to the less stringent of the two categories – classes?

MR. WILKINS:  Robert Wilkins, Danfoss again.  I think two things.  One you folks are going to be watching this closely, and as you see one rating diverge from the other rating, you’re going to naturally say we need to level this up.  So I think that’s one corrective mechanism.  The other is just market pressures that customers want to buy efficient products and if one competitor’s marketed product is more efficient than the other one, business is going to migrate in that direction.  It’s normal competitive market pressures.

Now, I don’t know that that’s a perfect answer, but I’m urging that those kinds of ways of doing it – I’m urging consideration of those methods, not to create artificial barriers.  You know, my wife drives an SUV.  Someone else might use it in his construction business.  But it doesn’tneed to have different kinds of ratings for different purposes.

MR. STAS:  Eric Stas, DOE.  I think DOE, of course, will fully consider once all the options are available, and I sort of mention some of these things to sort of sensitize you all to some of the things we’re worried about, so that while we maybe pursue that one line of exploration, at least you can think of some of the concerns we have and maybe come up with alternates that address some of those other concerns as well.  So we fully flush out the whole range of possibilities.

MR. BROOKMAN:  Yes, Karim.

MR. AMRANE:  Karim Amrane, AHRI.  I guess I – you know, is the distinction consistent with the actual definition?

MR. SVENSON:  Well, there’s no definition – agreed on definition in ASHRAE, just –

MR. AMRANE:  There isn’t?

MR. SVENSON:  All we – I found is you define data room, but there’s no definition specifically that describes computer room air conditioners.

MR. AMRANE:  Not in the ASHRAE 127 standard also there is no definition there?

MR. SVENSON:  I can’t – I was surprised, but my feeling is there probably isn’t, otherwise we would be set off of it.

MR. AMRANE:  Okay.

MR. BROOKMAN:  Paul Doppel.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  You know, a system, whether it’s a data room system or a comfort cooling system, I mean it’s like the old joke about the thermostat – how does it know whether it’s heating – keeping something hot or keeping something cold?  The system blows cold air or blows hot air, and it may cold air that’s a little bit drier in this situation than that.  And so to try to come up with – what you’re doing is basically you’d have to come up with different efficiency standards or some other metric, and that really makes it kind of difficult.  I mean there are different standards for heat pumps and air conditioners because of the additional bits of equipment in there.  But it just seems – this just seems like a problematic situation.

MR. BROOKMAN:  Gary.

MR. NETTINGER:  Gary Nettinger, Panasonic.  Computer rooms – there’s very few that require very, very strict conditions.  I suppose very sophisticated computer rooms, data centers, require maybe 50 percent RH, plus or minus ten percent, and a specific temperature, but there’s very few like that.  So I think as you look into this a little bit more, you’ve got to probably look at more the computer room itself, and, you know, there’s some equipment that is manufactured specifically for computer rooms.  Their operating range is different.  The tolerance on RH or temperature control is a little tighter, so you probably need to consider that.  But 95 percent of the data centers that are used, or probably more than that, are less sensitive to those and they’re able to take on a more, let’s say, comfort cooling type of system.

MR. BROOKMAN:  So it might be possible to differentiate a few different types of computer rooms and that might be the way you subdivide this?

MR. NETTINGER:  I suppose you could, but I think what we’re looking at right now is getting probably over-complex, and, you know, I’m not sure the value, considering how many computer rooms require that specific of a HVAC system is maybe not worth the effort.

MR. BROOKMAN:  Eric.

MR. STAS:  Eric Stas, DOE.  One thing I want to point out as we discuss this, you know, when ASHRAE 90.1 put these computer room air conditioners in the latest version, that triggered DOE to act.  And unless we come up with a clear and convincing evidence that we need to go more stringent than the ASHRAE level, that could direct us to adopt the ASHRAE level, so to that extent, we’re sort of compelled to make these standards for computer room air conditioners.  So it’s not necessarily that DOE necessarily even wanted to venture into this area, it’s a complex area.  Maybe we’d all have less headaches if we didn’t have to confront it, but we’re directed to, so that’s why we’re trying to –

MR. BROOKMAN:  Gotcha. Karim.

MR. AMRANE:  Karim Amrane, AHRI.  And I’d have to agree.  And that proposal came from the data center – manufacturers of air conditioners for data centers, the few companies that are specialized in this area, and they work within the ASHRAE community and the ASHRAE has a Standard 127 that rates those products.  Again, it’s something different, there’s no … and so on, and ASHRAE worked with those manufacturers and basically came up with the proposal.  So I guess test procedure or questioning the … and so on.  So I think we are passed that.

Now, as I said, AHRI is putting together a product section that will look at – that will gather those manufacturers and there will probably be a revision to the standard because we have an understanding with ASHRAE when AHRI arrives at their performance standard and ASHRAE writes the … of test, and eventually that could change.  The 127.  And if it changes, we will have to go back to ASHRAE 90.1 and ASHRAE 90.1 will have to look at this and then eventually we’ll have to look at the test procedure.

But I think, you know, first I understand why DOE – what’s DOE is facing now, and DOE has to look at what ASHRAE has done.

MR. BROOKMAN:  Okay.  Dave Winiarski.

MR. WINIARSKI:  This is –

MR. BROOKMAN:  Use the microphone, Dave.  Hit the button.

MR. WINIARSKI:  This is Dave Winiarski, Pacific Northwest National Laboratory.  I did want to make a statement here, trying to follow a little bit of the conversation, that there, as far as I understand, there will be no restrictions on the use of comfort cooling equipment for serving computer rooms.  So if you have a VRF system or other system, that can still be used to satisfy a computer room in a building.  This restriction is coming from the other side, which would prevent a product that is designed and marketed and tested, specifically, for use as a computer room air conditioner according to ASHRAE 127, is restricted from being advertised for use in other applications.  If those manufacturers have other applications they are certainly marketing their specific – what some people call precision cooling equipment,that may be a concern by itself.  But I don’t think this is a strong concern for the other comfort cooling equipment.

MR. BROOKMAN:  Okay.  Thanks for that.  Okay.  Additional comments?  Nothing else at this point?  Okay.

MR. SVENSON:  All right, so then DOE took the data from those two sources the CEC database and individual manufacturers’ websites and broke them out into 30 different equipment classes based on ASHRAE 90.1.  Those equipment classes depend upon the cooling type, the sensible cooling capacity, orientation, and whether or not there is a fluid economizer.  DOE found 1364 different models from 22 different equipment lines from five different manufacturers.  That number may seem high, but what tends to happen is one unit could be optionally be air cooled, water cooled, or glycol cooled, and then within those, upflow or downflow, so for like that one unit, you would have six different optional configurations which will fall into six different equipment classes.  So that kind of describes why that number is a little high.

Engineering Analysis

Next we’ll get into the engineering analysis.  The goal of the engineering analysis is to characterize the relationship between the increased efficiency and the cost required to get to that increased efficiency.  DOE chose an efficiency level approach in conjunction with pricing survey in this rulemaking.

There are six steps here for the engineering analysis.  We’ll go into each of those steps in more detail in the ensuing slides, but here are just a brief overview.

- First, DOE chooses a representative equipment size for analysis, then

- It will define the baseline model, then

- Develop the efficiency levels for analysis

- Then DOE obtains pricing data and constructs price efficiency curves

- Next, DOE takes such price efficiency curves and scales them to the equipment classes that were not directly analyzed, and

- Lastly will get into the results.

Now, the first step, DOE needs to choose a representative equipment size on which it will base all of its analysis.  DOE chose the average sensible capacity rounded to the nearest ton for each equipment class for computer room air conditioners.  DOE noted that within each size category for computer room air conditioners, there was not any variation between the cooling type, orientation, and the presence of a fluid economizer, so DOE was able to choose the representative sensible cooling capacity based on just the size categories.

So for the small computer room air conditioners, those with cooling capacity less than 65,000 BTUs, DOE chose the three ton capacity.  Then for the large computer room air conditioners with a cooling capacity between 65,000 and 240,000 BTUs per hour, DOE chose 11 tons.  And for the very large, DOE chose 24 tons.  That said, DOE directed downstream analysis around these numbers.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI. For the large unit, does that tonnage represent kind of the high point of the bell curve in terms of distribution or -- because, you know, with the other it seems like the midpoint of the range, but here you’re on the low end of the range.

MR. SVENSON:  So that number is based on the average of the sensible capacities found in that entire size category, and you’re talking about the very large, greater than 240,000, so most – we found that most equipment tended to be on the lower end of that range, so it’s closer to the lower range.

MR. ROSENSTOCK:  Thank you.

MR. SVENSON:  All right.  Next, DOE defines the baseline model.  The baseline level is used as a reference point against which DOE measures any changes resulting from amended energy conservation standards.  A baseline model typically represents the model having features and technologies normally found in the equipment class offered for sale.  Usually DOE will choose the baseline efficiency level as the federal energy conservation standard, however, in this case, computer room air conditioners are not currently regulated, so they do not have a federal energy conservation standard.  But since EPCA requires DOE to adopt the ASHRAE levels or higher, DOE chose the ASHRAE efficiency levels as the baseline levels.

And then, lastly, to simplify the engineering analysis, DOE only selected levels for the downflow class.  We found that there’s really no difference between the upflow and downflow class.  They all have the same components, just organized in a different way, and they would have the same technological advancements as the downflow class, and so the class benefit analysis would be pretty much the same between these two classes.

All right, next, DOE will develop the efficiency levels for analysis.  Since DOE does not currently regulate the computer room air conditioners, manufacturers are not required to report their efficiency information.  So DOE had to rely on efficiency information found in the manufacturer literature and the CEC appliance database.  However, SCOP is a new metric adopted by ASHRAE, so all the efficiency information DOE did find was in a form ofEER, so DOE needed a method in order to convert these EER numbers into SCOP.  In the appendix of ASHRAE Standard 127 there is this rule of thumb formula that converts the old EER into the SCOP, and you can see the formula on that slide.

For those equipment classes for which DOE had enough efficiency information, DOE would identify the max tech efficiency level on the market, and then DOE chose three evenly spaced points between the baseline level and the max tech efficiency level for five efficiency levels for analysis.  For those equipment classes for which there were little or no efficiency information, DOE based its levels off of a similar equipment class using the efficiency difference found in ASHRAE 90.1.  So, for instance, DOE didn’t have enough efficiency information for the water-cooled class with the fluid economizer, so DOE took the efficiency levels they developed for the water-cooled class without the fluid economizer and subtracted .05 from the SCOP, which is that difference found in ASHRAE.

MR. BROOKMAN:  Joanna Mauer.

MS. MAUER:  Joanna Mauer.  Did DOE attempt to compare the SCOP levels in 90.1 to the current California standards that I recognize the difficulty of comparing SCOP to EER.

MR. SVENSON:  We did use the rule of thumb to compare those levels.  Again, we’re not positive how accurate the rule of thumb formula is.

MS. MAUER:  Can you say, using the rule of thumb, how the levels in 90.1 compare to the California standards?

MR. SVENSON:  They’re close in some categories and I think they are – California levels may be a little higher than the current ASHRAE standards.

MS. MAUER: Okay.  Again, I think we’d certainly be concerned if DOE is going to preempt the California standards and set standards – national standards at a level that are lower than the current California standards, and I believe the California standards have been in effect since like 2006 so these aren’t new standards based on kind of better than may be available now.

And maybe if I can just ask another question.  Is there some inherent difference between the computer room air conditioners and kind of conventional packaged AC equipment that would make the CRAC units less efficient?

MR. SVENSON:  I’m not aware of any.

MS. MAUER:  Okay, so, you know, if there’s no inherent – something inherent that makes the equipment less efficient, I don’t see a reason why the levels couldn’t be comparable in stringency to what the levels were in commercial package equipment, and I think if we are having – and I appreciate that DOE’s trying to resolve these issues, the definitions, but especially if there is possibility that manufacturers could rate their equipment to the product class with the lower standards that is a significant difference, I think that’s a concern.

MR. BROOKMAN:  Thank you.  Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  I was just thinking that typically for the computer room units, aren’t typical test conditions show much lower temperature and relative humidity compared to the packaged units, so that would have an impact on efficiency levels right there, just because of different test conditions.  I mean significantly lower.  So that, you know, when you have to take out much more humidity and lower – let’s say 68 degrees, 50 percent humidity for the computer room, versus 74 degrees, 55, 60 percent for – again, I don’t know what the test procedure numbers are, but just the internal conditions can make a significant difference in terms of the efficiency levels that you’re going to see because of the differences in the test procedure.

MR. BROOKMAN:  Karim.

MR. AMRANE:  Karim Amrane, AHRI.  I believe those kinds of questions were raised within the ASHRAE 90.1 committee when this proposal was discussed, and I think – and at that time we had a lot of input from those manufacturers who make those products, and I think there’s the understanding, from those discussions, that what they were proposing was somehow equivalent to those conventional air conditioners, rooftop units, or something like that.

So again, I think what’s happening here, we are talking about the first go-round, this is the first time they are going to be regulated, and eventually, if those manufacturers, as I said, AHRI is forming a product section, we will have a certification program, and within the next few years there will be a way to see those efficiencies and to be able to raise them if the efficiency needs to be raised.

MR. BROOKMAN:  Okay.

MR. SVENSON:  Next, DOE conducted a pricing survey.  We contacted the five known manufacturers of this equipment and were able to obtain efficiency and pricing information from three of those manufacturers.  DOE selected models for pricing that were close to representative sensible cooling capacity as possible, generally within 15 percent.  DOE received pricing information for 32 total models and DOE used this pricing data, together with the SCOP information to produce price efficiency curves.

Then DOE obtained efficiency information. DOE only had enough pricing and efficiency data to directly analyze four equipment classes - the small air-cooled equipment class, the large air-cooled equipment class, and the small and large water-cooled equipment classes.  Now for the remaining eleven equipment classes, DOE had to scale the price efficiency curves from these four classes.

So this is a little bit of a graphic of how we scaled the price efficiency curves.  Just to give you an example, if you look at the top right arrow, to go from the large air-cooled equipment class to the very large air-cooled equipment class, DOE subtracted 0.2 from the SCOP which again, is that difference found in ASHRAE, and we also multiplied the price by 1.44, which is the average increase in price we found from our pricing survey.

Another thing to point out from our pricing survey is that we found that water-cooled computer room air conditioners were the same price as glycol- cooled computer room air conditioners.

And lastly, for classes with the fluid economizer, we used the corresponding class without the fluid economizer and subtracted .05 from the SCOP as we discussed earlier, and we multiplied the price by 1.0582 which is again the average price we found for having a fluid economizer.

If you’d like to see a full set of results for the engineering –

MR. BROOKMAN:  No, go ahead.  Keep going.

MR. SVENSON:  If you’d like to see a full set of results for the engineering analysis, you can refer to chapter three of the NOPR TSD.  Based on the pricing data that was obtained, DOE observed a positive correlation between price and increase efficiency for the small and large air-cooled equipment and the large water-cooled equipment.  However, DOE observed that there was a negative correlation between price and increase efficiency for small water-cooled equipment class.  DOE notes that there’s other factors other than the efficiency of the equipment that could impact the pricing.  For instance, how competitive the market is, warranty, et cetera.  DOE believes that this negative correlation is not representative of this equipment class because of these factors – and these factors also could have influenced results for the positive correlation equipment classes as well.  DOE would also like to note that there was a lack of data and there’s a lot of uncertainty in the data that also could kind of increase the margin of error for these results.

MR. BROOKMAN:  Okay.  Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  Again, thank you for that, but going back to that previous slide 44, I guess, you know, it said you only had data for the four classes, and then you have these scaling factors.  I guess my – was there like limited pricing information, where you just got the 1.44 and 1.9 scaling factors for all sizes?  Or – it just seems like – you did the scaling, but how much information do you have to be confident those scaling factors worked across all sizes in those, especially for the very large units?

MR. SVENSON:  Well, as we said, there’s a lot of uncertainty in the data.  We had some data for all these classes that we were able to make some of these general kind of correlations, but we are aware the data is very uncertain and we’re not extremely confident in any of these results, but that’s because of the uncertainty –

MR. ROSENSTOCK:  And Steve Rosenstock, EEI.  What was the variation – I see the 1.44 and 1.9 – what was kind of the variation that you saw with the data set in terms of price differentials?  In the range?

MR. SVENSON:  In terms of like a tolerance for the price?

MR. ROSENSTOCK:  No, no, no.  In terms of what was the range?  Was it 1.34 to 1.54 or was it 1.04 to 1.84?  What kind of variation did you see in some of the –

MR. SVENSON:  I would –

MR. DARLINGTON:  We don’t have that off hand, but –

MR. BROOKMAN:  Use the microphone.  This is Adam Darlington.

MR. DARLINGTON:  We don’t have that information off hand.  We obviously don’t provide the actual pricing data that we collected, so that we don’t reveal anything.  But as far as the range, I mean, so typically for the four green product classes, we were able to collect enough data, you know, four or five points, to get a general trend.  And then in those remaining product classes, we only had a couple of points, and basically from those points we tried to come up with an average sort of difference.  Now, you know, where it says the 1.44, whether that range, you know, we had one that was 1.33 and one that was 1.6, you know, the same price and one that was double it, I don’t know off the top of my head, but I don’t think that there was that big of a range, and we could probably look into the data and maybe follow up if you’re very interested.

MR. ROSENSTOCK:  Steve Rosenstock.  And again, that’s fine, but I’m just saying, this definitely is – has significant impact in terms of the economic analysis.

MR. DARLINGTON:  Yeah, I agree, absolutely, and that’s part of the issue here and part of why the approach is to sort of adopt the ASHRAE levels because DOE is charged with kind of presenting a clear and convincing case that more stringent levels are justifiable, and basically with the computer room air conditioners, there’s a specific problem because they’re currently unregulated, and so there’s not a whole lot of data out there to base an analysis on, especially with the lack, you know, the complete lack of efficiency data.  And then for the few products that we were able to convert the efficiency data on to get the pricing data for that was also a challenge.  So I think – I guess the overarching point is that there is a good amount of uncertainty in the actual price-efficiency relationship, based on what was done and the lack of data that was available to us.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  I definitely appreciate that and since we’re going to be at the final rule stage, if there is a way to, in the final rule, just to say data sets were limited and we’re basing this on a limited data set in terms of all of the life cycle analysis that we’re going to do.  Thank you.

MR. BROOKMAN:  Thank you.

MR. SVENSON:  And DOE invites comment about the pricing analysis or any data information about the price-efficiency relationship for computer room air conditioners.

MR. BROOKMAN:  Any additional comments on these pricing issues?  Or others?  Nothing additional?  Okay.  Moving on to markups and next we’re going to hear from Michael Scott and actually Dave Winiarski’s to – Dave’s going to go first.  Dave Winiarski.

Introduction to Markups Analysis; Energy Use Analysis;

Life-Cycle Costs and Payback Period Analysis

MR. WINIARSKI:  So, hi.  My name is Dave Winiarski, I’m with the Pacific Northwest National Laboratory, and I’ll be introducing this section five which is up here, which is discussing markups analysis, energy use analysis, and how those feed into DOE’s life cycle cost and payback period analysis.

I’m going to start off this with a discussion of energy use and then use load characterization section.  This slide here shows how that and the markups analysis both feed directly into the life-cycle cost and payback period analysis.

So for the energy use characterization of computer room air conditioners, what we did is what’s called a bin temperature analysis, where first we establish a performance map for how the efficiency of a computer room air conditioner in any one of the 15 classes that we’ve identified for the analysis behaves as a function of external conditions.  In this case, external conditions being either defined by products which respond primarily to outdoor air dryable temperature – those are the air-cooled products, obviously; but also we’re presuming that the glycol-cooled products respond outdoor air temperature because they are generally used with what’s called a dry evaporative cooler – or dry cooler outside which cools the glycol loop which the air conditioner is – or serving air conditioner for its condensing section.

For water-cooled units, those are generally – they’re not used with a dry cooler, they’re used with an evaporative type cooler, either directly or indirectly, and so they are responding to outdoor wet bulb temperature performance.

The basis of the analysis is we establish these performance maps for each class of equipment, in this case each specific size of equipment within those classes as a function of either the dry bulb temperature or wet bulb temperature, and then we perform an annual energy consumption analysis where we pair the performance at each bin temperature – we bin them in five degree temperature bins, for instance 65 to 70 degrees outdoor temperature would be a bin.  We come up with the power use in that bin and then we end up multiplying it by the number of hours in that bin in a particular climate.  The analysis was done for 239 specific climates using typical meteorological year data, the specific set was the TMY3 data.  And then we further aggregate from those 239 climate locations into state average unit energy consumption for each class of computer room air conditioners, and those state by state average numbers are what actually feed the life-cycle cost analysis.

So the next slide, I want to discuss briefly the basic process and assumptions that are used in the performance maps.  To start off with, the performance maps, you need to understand a little bit of what’s the load on these computer room air conditioners.  And to be quite frank, there isn’t a lot of data out there on typical loading for computer room air conditioners.  The assumption that we used for this was that in any given hour for which we’re establishing the power, the computer room is loaded or provides a load on the air conditioner equivalent to 65 percent of the sensible capacity of the air conditioner.  That number was based on an Australian study, a minimum energy performance standard study.  It also correlates well with some California code enhancement studies that were produced, I think, just in the last couple years.

The efficiency again, is assumed to be a function of the condensing fluid temperature, or where you’re looking at air-cooled products, the air temperature, unless it varies with the temperature bin.  In addition, and somewhat unique for this product class, ASHRAE defined separate product classes for equipment with and without economizers, which is a little unique compared to other types of air conditioning equipment.  So where economizers were fluid economizers, either the glycol-cooled products or the water-cooled products, with a separate fluid economizer that’s incorporated in the product, we actually included the load reductions from those economizers directly in this analysis.  A key point is that we did not include reductions for air side economizers, which may be used with some air side equipment, but we had very little data on how often or how frequent that’s used.

Supply fan power was based on manufacturer data that we could find for specific products.  In this analysis, the supply fan power is assumed to be constant at all levels, so the energy savings is coming from largely improvements in the refrigeration portion, not on the supply fan portion.

MR. BROOKMAN:  Yes, Steve.

MR. ROSENSTOCK:  Steve Rosenstock.  Edison Electric Institute.  On the graphic in this slide, on the Y axis it says EIR, what does that stand for?

MR. WINIARSKI:  EIR is the energy input ratio.  It’s basically a term that’s often used in building performance models, like Energy Plus or DOE2, and it reflects the amount of power that’s used or provided to the condensing unit relative to the capacity output of the condensing unit.  In this case, condensing unit, I’m really referring to the entire refrigeration system, minus the fan system.

MR. ROSENSTOCK:  So – Steve Rosenstock, thank you.  So EIR T versus nominal, so T is based on the outdoor ambient?

MR. WINIARSKI:  Exactly, so if you’re looking at this graph, what you’re seeing here is that as the outdoor temperature gets lower and lower, the energy input required to achieve a certain amount of capacity also gets lower and lower.  Which is, in this particular case, we didn’t have performance curves from actual products that were being analyzed, however, the ASHRAE 127 standard has an appendix which had examples of performance at different conditions, and so the plots you see here are actually based on that appendix.

MR. ROSENSTOCK:  Thank you.

MR. WINIARSKI:  So that’s again taking into account that performance varies with condensing conditions and in addition we also have some part load performance curves as the equipment becomes unloaded in the analysis to take into account things like compressor cycling.  So that’s also taken into account.  And this allow us to come up with essentially a power – an average power consumption for each outdoor temperature bin.

From then on, it’s a relatively straightforward analysis.  The power in a given bin is equal to the power of what I’m calling the condensing section, which is really the compressor and the refrigeration portion of the system.  That’s added to the supply fan power which gives you the total power in any given temperature bin.  We then develop for each of the specific climates that were analyzed, essentially the sum product of the power in each bin times the number of hours in each bin over the year.  That gives us the unit energy consumption for that product class and particular size in that climate.

In order to come up with the state energy consumption on average, we have specific weights that reflect the presence of that particular climate in a given state, for example, California might have – I don’t know the number off hand, but maybe 15 different climates that are included in that, each with a given weight.  We weighed all the unit energy consumptions by climate with those weights to get the state by state energy use figures.  And that’s what’s fed directly into the LCC spreadsheet.

The LCC spreadsheet also is able, when it does its analysis, which will be discussed here shortly, to come with sort of national average unit energy consumption estimates.  And this process is repeated for each of the efficiency levels analyzed.

And that’s really the summary.  If there’s any questions I can take them now.

MR. BROOKMAN:  No questions.

MR. WINIARSKI:  All right.

MR. BROOKMAN:  Michael Scott.

Markups Analysis; Life-Cycle Costs Analysis

MR. SCOTT:  Okay, so moving on here, what I’ll be talking about is the markups analysis and the life-cycle cost analysis.  In order to do this, we have typically, when we’ve done one of these life-cycle cost analyses and mark-up analyses, we have to specify distribution channels for the equipment of interest, and then to talk about what types of businesses a piece of equipment may go through until it reaches the consumer.  And typically those may have several branches.

However, in this case, it is our belief that computer room air conditioners really pretty much there’s a manufacturer dealing with a mechanical contractor who’s doing the installing, and may be doing some markup on the equipment, and that’s true for either replacement or new construction.  Our belief is that in most cases computer rooms are not really installed in new construction as specifically as computer rooms and a general contractor, for example, would not be involved.  And we have virtually no data on that.  This is largely an assumption on our part, so we are interested in comments that people who are involved in the industry might have on that and tell us a bit more about how the equipment is actually distributed, because that may affect the analysis.

However, with that particular distribution channel that’s shown on slide 52, then we proceed with the markup analysis.  Our source of data for the mechanical contractor, which is the only markup past the manufacturers in this case, the source of data for that was the 2007 economic census applied to the – for the particular part of the construction industry that is the most relevant for this kind of equipment, and that is HVAC contractors.  It’s the most detailed code available for this type of construction.

We do a workup of the components of the costs of the mechanical contractor.  Those costs are divided into what we call variant costs which scale with the price of the equipment, or which we believe scale with the price of the equipment, and those portions of the costs of the contractor that do not scale with the cost of the equipment.  And we scale that with the cost of – essentially the cost of goods sold, which in the case of the mechanical contractors is subcontractor costs, it’s installing labor costs, and one other component which is in the TSD but escapes my memory at the moment.

The remaining costs are what constitutes the markup of the cost of goods sold, primarily the general operating costs of the contractor, and those are primarily labor, occupancy, factors like advertising, depreciation, and then finally profit.  And some of those components, particularly the labor and occupancy costs, we characterize as invariant with the price of the equipment, and so we have both a baseline markup, which is characteristic of baseline equipment, and then for more efficient equipment, as that price gets higher, the markup does not follow it, instead it’s somewhat less because the belief is that labor and occupancy costs do not scale with the price of the equipment.

The averages that you see on the slide, the baseline markup of 1.474 and the incremental markup of 1.184 are national averages, and we were able to provide in the technical support document, a range of occupancy cost factors that are unique to each state, because labor costs and occupancy costs, particularly, vary across the country.  And then when we do the actual analysis using Monte Carlo analysis, then we are drawing from the cost in the individual states rather than the national average.

Similarly, for sales taxes, what we see on the slide here is a population-weighted average for the country, however there are states that don’t actually have a sales tax, there are states for which that tax is higher, and so again, we’re drawing from a distribution of taxes.  The information that’s provided on the slide here is to give you an idea of the overall average.

So I’ll stop right there for the markup factor and give people a chance to ask questions if they wish.  Otherwise, I’ll just move on.

MR. BROOKMAN:  So comments both on the distribution channels and also these markup factors?  No additional – Gary.

MR. NETTINGER:  I’ll make a comment.  As we proceed through this process with computer room air conditioners, it’s becoming more and more clear to me that these are in fact – you are in fact looking at precision air conditioners, not products that are sometimes applied to computer room air conditioners.

MR. BROOKMAN:  And when you say precision, what are the characteristics there?

MR. NETTINGER:  They are designed strictly for computer room or industrial equipment cooling, not for comfort cooling at all, so that kind of goes back to our definition that – I guess from a definition standpoint, I’m becoming more and more opposed to this being regarded as computer room air conditioning or a computer room standard, because there’s lots of other systems that could be used for computer rooms.

On the channel to the market, I can’t be specific on this, but I do believe that in many cases it will be manufacturer to a distributor.  There will be a markup there.  There may sometimes be a sales rep agency or manufacturer’s rep agency involved.  If it’s a sales rep agency, there will probably be a markup as well, and then it will go on to the mechanical contractor and the consumer.  So I think that – generally I think you’re probably missing one step in the markup process.

MR. SCOTT:  Yeah, one thing I probably should have mentioned was that as we have them set up here and we’re going to have to double check with our colleagues over at Navigant, but our understanding when we were handed the original prices here that get marked up is that those were actually delivered prices from the manufacturer or the distributor.  So we would have already accomplished that in the manufacturer/ distributor markup.  But thank you very much for that information, that helps.

MR. BROOKMAN:  Would you be willing to venture on the scale of the markups listed here?

MR. NETTINGER:  No.

MR. BROOKMAN:  I didn’t think so.  Okay.

MR. SCOTT:  All right.  That it?  We’ll move on.  Oh, one more.

MR. BROOKMAN:  Joanna Mauer.

MS. MAUER:  Joanna Mauer.  Actually just a question for Gary or anyone else.  Are there distinguishing equipment designed specifically for precision cooling from equipment that may be designed for comfort cooling but may be used in these other applications?  Are there other characteristics, physical characteristics, other characteristics that could be – to distinguish those two types of equipment?

MR. NETTINGER:  That’s obviously going back to the definition.  Very difficult to define a firm role.  I think it’s just the requirements of that particular data room or computer room, and how precisely they need their humidity controlled.  You know, computer room air conditioning is usually designed for primarily sensible cooling, not much latent.  I just don’t want to see this going in the direction where the result of this analysis or testing efficiency rating, whatever is to become of this, prevents comfort cooling – or obstructs an HVAC system that’s designed for comfort cooling, such as Panasonic or any manufacturer’s equipment to be used or marketed into a common computer room application.  Most computer rooms do not require high precision equipment.

MR. BROOKMAN:  Paul.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  Probably the most distinguishing characteristic would be the ability to apply cooling operation at very low temperatures, and most standard comfort cooling systems go down maybe 55 degrees, and then providing cooling lower than that is a stretch, and so systems have to be specially designed to be able to operate down to ten, zero, minus 20, that takes special requirements for those.

But to Gary’s point, I can – again, I’m having the same concern that there could be an exclusion of products that normally could do this job because it says – the requirement might be that it has to comply with ASHRAE standard 127.

MR. BROOKMAN:  Yes, Warren.

MR. BEETON:  Could DOE clarify something?  I’m not a little confused here.  I thought the proposal that was on the table was to prohibit the marketing or sale of precision cooling equipment for general air conditioning, but not prevent the sale or marketing of general equipment for computer room application.  Is that wrong?

MR. BROOKMAN:  Dave Winiarski.  Use the microphone.

MR. WINIARSKI:  Yeah.  Dave Winiarski.  To preface that, we’re not trying to obviously restrict the sale, or we’re trying to make sure that the equipment that’s sold into that precision cooling application – let me rephrase that.  That equipment that is designed specifically for that precision cooling and computer room application and is tested in accordance with that need, will meet this requirement, but the Department is not putting restrictions on the ability of using comfort cooling equipment for that computer room application.  Does that clarify?

MR. BROOKMAN:  Karim.

MR. AMRANE:  Karim Amrane, AHRI.  I guess what Gary is saying is that there is this equipment which is also sold in computer room application, which are not for precision cooling, but they still do the same kind of job.  They are there for comfort cooling, but as well as for the computer rooms.

MR. BEETON:  Right, and I’m assuming that that equipment is rated to AHRI 220/240 or 340/360 and designed for comfort applications primarily, but could also be used for the computer room application.

MR. BROOKMAN:  Ashley.

MS. ARMSTRONG:  Just a comment – what the Department, I think, is trying to do and it has little to do with how a manufacturer may market their equipment or what – if you want to get into overlapping markets – but we’re trying to clearly distinguish in our definitions what standards and testing procedures you need to use.  In other words, where are you covered?  And if the definition is overly vague or overly broad, then you could end up in a situation which encompasses two different testing procedures and two different standards for the same equipment, and this is where we need your help in distinguishing.  We’re trying to clearly distinguish between the two.

MR. BROOKMAN:  Okay.  Paul.

MR. DOPPEL:  Just a comment on the application side.  I mean, if someone wants to use this type of equipment to do comfort cooling,  I mean, they’ve got a lot of money for one.  And there shouldn’t be a restriction from doing that.  And again, the definition seems to imply restrictions on applicability, you know, both ways.

MR. BROOKMAN:  Warren.

MR. BEETON:  Just to clarify.  Our company makes computer room air conditioning, so we have an interest in this.  What we’re reading on the chart that appeared some time ago was only the prohibition of marketing or sale of what I will call precision cooling units that are marketed as and tested to a precision cooling standard, the ASHRAE 127, to prohibit the sale in general air conditioning.  That’s what that chart said.  But there was nothing that said the other way around, to prohibit the application of general air conditioning equipment for computer room cooling.  Am I correct?

MR. BROOKMAN:  Ashley.

MS. ARMSTRONG:  Right, so it seems like what you would advocate, if I’m stating this correctly, is that you guys would advocate in the definition section removing the part about marketing or advertising.

MR. BROOKMAN:  Ashley, can you refer to the slide that you’re looking at?

MS. ARMSTRONG:  Thirty-three.

MR. BROOKMAN:  Thirty-three.  So let’s do that again, so we get this –

MS. ARMSTRONG:  We don’t have to go back, we’ve already dealt with that, but at the same time, that seems to be what I’m hearing.  In other words, if somebody makes a particular design, what we need to make sure is the definition is clear as to which bucket if falls into.

MR. BROOKMAN:  Hang on just a second.

MR. BEETON:  I’m not advocating, I’m just trying to clarify.  And again, I thought it was a yes or no question.  That what DOE proposed in that chart was simply to prohibit the sale and marketing of equipment rated to ASHRAE 127 for general air conditioning, but not to prohibit the application of equipment rated under the commercial air conditioning standards for computer room use.

MS. ARMSTRONG:  That is correct.

MR. BROOKMAN:  Okay.  Thank you, Ashley.  Robert.

MR. WILKINS:  Robert Wilkins, Danfoss.  When we first started this conversation, we had this discussion about restriction of sale of this type of equipment in this sector or this type of equipment in that sector.  But what I’ve kind of heard the evolution of the dialogue going is that there could be or there’s a suggestion there could be a standard for precision computer room air conditioning equipment, and a standard for conventional commercial air conditioning equipment.  But the question I – and I think that makes sense.  But the question I’m raising is, if you have those two standards – this is precision equipment with high cost, high performance capability over wide outdoor ambient range, et cetera, et cetera, and standard equipment.  Then is there any need at all for any restriction of sale, cross sale?  If the computer manufacturer can figure out how to use a basic standard commercial air conditioner to meet those needs, why should we restrict him from doing that, and likewise, if that high end customer wants to spend an exorbitant amount of money to put a very precision piece of equipment into a commercial office building, why should we restrict that?

MR. BROOKMAN:  Warren, follow on.

MR. BEETON:  And I think a comment earlier was to the effect that no one is going to be likely to try to apply precision cooling equipment for general air conditioning.

MR. BROOKMAN:  Gary.

MR. NETTINGER:  Gary Nettinger, Panasonic.  I’m not opposed to the marketing aspect of it in the definition.  Within this room we’re speaking more and more often about precision air conditioning equipment.  I think that term would be a lot more appropriate for use in this standard, rather than computer room, because if we – if it’s classified as precision air conditioning equipment, it doesn’t restrict any market.  It doesn’t impeded how I sell my equipment or how they sell their equipment.

MR. BROOKMAN:  Robert.

MR. WILKINS:  Gary, I think that’s a great point.  For example, the equipment might be used in some specialized laboratory, biomedical laboratory for example, where you had to have very strict climate control.  Same type of requirements is not a computer room.  So the distinction that I’m hearing is more it’s precision equipment and standard commercial air conditioning equipment, with no prohibitions of where the equipment could be utilized.  That would be left up to the commercial forces, market forces to determine.

MR. BROOKMAN:  Thank you.  Paul.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  I just wanted – I support those two comments, because again, that makes more sense for the market to determine how the product is being applied, rather than trying to use a definition in DOE language to try to sort that out.  So I support Gary’s calling it precision.

MR. BROOKMAN:  Eric Stas.

MR. STAS:  So in your written comments, would it be possible to come up with some objective measures or distinctions of what constitutes a precision air conditioner that could be put in this computer room definition?  So that we don’t have to get into marketing and sale.

MR. WILKINS:  Eric, you’re looking at me because I made the comment, and that’s reasonable.  But I would defer that to the people that manufacture those types of products, probably.

MR. STAS:  Let me ask the question more broadly.

MR. WILKINS:  And I – and just to add that I was only trying to facilitate a little bit here and –

MR. BROOKMAN:  So Eric would like to direct that question to manufacturers in the room.  Would it be possible to describe this precision equipment in a way that is distinctive and – people are pointing at you, Warren.

MR. AMRANE:  Karim Amrane, AHRI.  As I indicated several times already, we are bringing those manufacturers in house, so we will get you some better definition.

MR. BROOKMAN:  What’s the time frame?  I’m sorry to press you on that.

MR. AMRANE:  Karim Amrane, AHRI.  We will have a discussion on this particular rulemaking before the comment deadline, so we will get you some information.

MR. BROOKMAN:  Thank you.  Thanks a lot.  Okay.  That was productive.  Final comments on this series of issues because we’re going to be moving on here.  Okay.

MR. SCOTT:  Okay.  Just to complete the life-cycle cost analysis and payback period analysis discussion, as people who have been involved in this before know, this is an economic evaluation from the end user perspective, so this is the value to the user when the equipment is put in place and operated.  The results are expressed as life-cycle cost savings, that is, the difference between a baseline piece of equipment and the equipment at a standard level, and then we also calculate a simple payback period and we report that in the analysis.  And I have a sort of a simple diagram here on the slide that reminds me that it’s a combination of first cost, which is the end user price, or the marked up price, plus installation costs for the equipment, and then looking out into the future, there’s a discounted cash flow of costs which are electricity, in this case, repair and maintenance costs.  And all of those are combined using the discount rate so that we have an equivalent present value measure, and we can look at the differences in life-cycle costs between the two levels.  So that’s generally how it’s carried out.

I’m not going to be talking so much about electricity cost today. Basically this equipment goes into commercial buildings of a couple of different types, for computer rooms in those buildings, and we’re using average commercial prices for each of the states, escalated going forward, using Energy Information Administration forecasts and then from the information types of buildings, then sometimes those have different prices than the commercial average, so we take that into account.

What I am going to talk about a little bit more today is installation costs and the repair and maintenance costs because they’re kind of a unique problem to this rulemaking.  There was virtually – there was very little installation costs information available.  What we were able to find is that RS Means’s CostWorks system does provide information that allows mechanical contractors to bid jobs for installing computer room air conditioning, so what we were able to do is calculate installation costs at various cooling capacities and create a cost curve relationship for each of the cooling types, for air-cooled, water-cooled, and glycol-cooled.

But we had no information about variation in that equipment cost by efficiency level, nor did we really expect any, because we believe that this equipment is—even more efficient equipment— is likely to be about as expensive to install as more conventional baseline equipment.  The principal difference in installation costs appears to be the capacity of the system, and we were able to take that into account, but then we assume that installation cost itself would not vary with efficiency level.  And that’s all reported in the technical support document.

However, we are interested in observations from people in the room here and on the web concerning whether they believe installation costs really ought to increase as a function of efficiency as opposed to capacity.  And if so, how should that increase in cost be estimated or derived?  Because we have pretty much exhausted the data that we have.

MR. BROOKMAN:  See the question there.  I don’t think we have anything.

MR. SCOTT:  I guess silence means consent.  Not sure.

MR. BROOKMAN:  So as you reflect on this point, or you can come back later with comments, that would be helpful to get back to the Department on.  Yes, Robert.

MR. WILKINS:  Robert Wilkins, Danfoss.  I don’t have anything to respond directly to this question.  However, indirectly, I’m reminded of the work we did a few years ago when we established 13 SEER in residential systems.  And we raised the minimum from ten to 13, and that worked fairly well in new construction, but it created a lot of problems in retrofit and replacement, because the installation costs were so substantial.  Maybe the installation costs were incrementally higher in new construction, but in the replacement market, they were substantially higher because the indoor unit simply wouldn’t fit in the closet where the old one was.  It was much larger, the units were larger.  And so I don’t know whether that’s directly relevant here, but I offer that as one point to consider.

MR. BROOKMAN:  Warren.

MR. BEETON:  I’d have to see if our folks in that division have any comments, but I question – I would bet that a lot of equipment that goes into installations where attention is paid to energy efficiency, that there will be costs, not caused by the equipment, but caused by the intention of the consulting engineer or whoever designed that and also the equipment that goes with it, that will tend to be more efficient as a consequence.  So they might be associated or correlated, but not necessarily driven by the equipment rating.  I don’t know if you’re still – if that’s part of what you’re interested in or not.

MR. SCOTT:  We’re certainly interested in anything you can tell us about the installation process that – I don’t know what we can take into account and what we actually can’t take into account, but we’re certainly interested in everything you can tell us about it.

MR. BROOKMAN:  And it’s for that equipment or the ancillary equipment supporting that equipment?

MR. SCOTT:  If there is, say, substantial amount of cost in ancillary equipment, and particularly if it changes by efficiency level, that’s worth knowing here, I think.

MR. BROOKMAN:  Okay.  So we’re moving on to repair costs.

MR. SCOTT:  Right.  Again, there was very little data available, however RS Means did provide some data on one-time repair costs for air-cooled equipment. They really didn’t have anything on water-cooled or glycol-cooled.  And what we did as an attempt to do an analysis here was to use some logic and look at repair costs as a percentage of original equipment cost for different equipment capacities.  The reason for doing that was we felt we needed a percentage type relationship, since we didn’t have actual equipment cost – actual repair costs for all classes of equipment.  And the other thing that we observed was when we graphed out the repair costs, it appeared as though initially there’s a relatively large amount of labor cost associated as a percentage of the overall cost, and then as the equipment gets larger, it’s more the equipment that begins to dominate the labor.  And so the percentage of labor continued – the percentage of labor stopped going up as the equipment became more expensive, but the overall cost of labor went up proportionately.

So in showing all that in some cost curves, and then estimated for each of the classes of equipment, we multiplied the calculated percentage from the cost curve at each capacity times the original equipment cost at that same capacity, and that allowed us to develop a table of one-time baseline repair costs which were then converted into a baseline average annual repair cost.  Basically, we annualized a one-time repair cost over the life of the equipment.

And then for higher efficiency levels, we believe that to the extent that the material portion of the baseline repair cost was the most important thing, we scaled the material portion of the repair cost for the more efficient equipment, but we did not scale the labor portion of the repair cost, again, going with the philosophy that the material cost was the primary thing that distinguished the efficiency levels and with what we’ve just said about the installation cost, that may not be true.  But that’s what we did.

And then for maintenance cost, RS Means basically had two maintenance costs allowed in their system.  About $84 a year for units up to about 20 tons capacity, 240 KBTU per hour, and another quote of $102 per year for larger units.  These are routine maintenance costs, so they’d include things like cleaning the evaporator coils, lubricating motors, cleaning condenser coils, checking and refilling refrigerant as necessary and similar activities.  And again, this would be an average over a period of years.

We basically said that those costs were almost entirely attributable to labor expenses and we assume that those did not vary by efficiency level.

I think I’ll stop there for any comments on all of that.

MR. BROOKMAN:  Joanna.

MS. MAUER:  Joanna Mauer.  Could you just explain again what – when you refer to one time baseline cost.

MR. SCOTT:  Yes, the RS Means says if you’re going to do a major repair on a computer room air conditioner, this is the cost of doing that.  They don’t really specify what all they’re doing, but it’s a very high price, actually, it’s a substantial portion of the original installed cost.  The impression you get is it’s almost a take it all out and throw it away and bring in a new room, just about.

MS. MAUER:  So, if the assumption that this is something that might occur once during the life of the equipment –

MR. SCOTT:  Right.

MS. MAUER:  -- and not something that is actually occurring annually?

MR. SCOTT:  Right.  There’s an equivalent with annual, yeah.

MS. MAUER:  I guess my concern is annualizing the repair cost, is that the present value of the annualized repair cost is that going to be the same as the present value of the repair cost in the actual year that it occurs?  I understand there’s a lot of uncertainty in this particular case that we’re – it sounds like you’re not sure what the actual – what the cost represents, necessarily.

MR. SCOTT:  Right.

MS. MAUER:  But I think we see this in other dockets as well where, you know, I think there are cases where you’re replacing the compressor, you’re replacing something that’s really just occurring once in some future year, and so it’s just not equivalent, I think, as this.

MR. SCOTT:  In some rulemakings I’ve been involved with, we’ve actually had some information about how long the time period goes before you actually have a major repair, typically, and we’ve sampled from distributions. So if it’s usually between year eight and year 12, we’ll just draw from that distribution, and then annualize the result of that.  Here we simply don’t know that.

MS. MAUER:  And I guess I don’t understand why it makes sense to annualize, you know, whether it’s a distribution between some number of years or a certain year, if you’re annualizing it, then you’re getting a higher present value, I think, than if you actually took the present value of when the crisis would occur.

MR. BROOKMAN:  Dave Winiarski, try to answer this, and then Warren, to you.  Dave – and use the microphone.

MR. WINIARSKI:  Yeah, Mike may have just been about to say this, but one thing you can think of it is if you sort of look at the repair cost and then bring back what that cost would be back to present value, you can think of I put a chunk of money away to cover that eventual occurrence, and so once it’s converted to present value, for the purpose of the LCC analysis, it’s not going to make a lot of difference, you know, whether you spread it over multiple years or it occurred in one particular year during the analysis.

MS. MAUER:  So you’re saying the present value – you’re doing it in such a way that the present value is equivalent, whether you’re taking the present value of a cost in a given year, or the present value of a stream of annualized costs?

MR. WINIARSKI:  That’s the idea.

MR. BROOKMAN:  Yes, Warren.

MR. BEETON:  And also another factor is that for compressors which would be a source of significant portion of a repair cost, those failure rates look like a classic bathtub curve with a very tiny front end and a very tiny back end.  So it’s basically a flat curve, and whether you do it for one year or for each year, doesn’t really matter.  I think your analysis is good.

MR. BROOKMAN:  Okay.  Thank you.  Just a process note.  We’re ahead of schedule, which is based on all of your good effort here today, and I’m going to suggest we just keep pressing on and finish this without pausing for lunch.  I think we can do it, say, probably in an hour or less.

MR. SCOTT:  Okay, I’ll press on then.

MR. BROOKMAN:  Pressing on.

MR. SCOTT:  So discount rates.  As I said before, we bring those annual costs back to the present using discount rates that represent how future monetary expenditures, or benefits, or costs for that matter are discounted to the present and indicate what value the consumer would place on the dollar of those future costs.  So discount rates are going to vary with the type of customer, because different customers have different views of the future, and that’s created by the particular circumstances.  It’s quite common, for example, on commercial entities to do something called a capital asset planning model which take a weighted average of the cost of equity and debt, depending on how much equity and how much debt they’re carrying.

And we’re fortunate that there is a website that actually has a source of data on individual, private companies.  And we sorted through those – there’s actually several thousand, and we came  up with a sample of 938 companies involved in the industries that we think are likeliest to use this kind of computer room: health care, education, finance, and services.  And for those computers then – those air conditioners that were placed in a private building, then we sampled from that distribution of 938 companies as a way to obtain estimates of what the discount rate might potentially be.

This equipment is also used by universities, by state and local government, and by school districts.  Well, state and local government, including school districts, typically have a bond rating of some kind that they would use for capital expenditures, and we chose a mid-range municipal bond rate that applies to state and local governments and to education institutions of a ten year AA municipal bond rate.  Then for the federal government, we used a geometric average of long-term greater than ten year US government securities to try to get an idea of what the borrowing rate likely would be there.

And then we sampled from the distribution.  So we had some air conditioners in public buildings, some air conditioners in private buildings, and the whole thing taken together then was part of our LCC analysis.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  In terms of this website, did they have information on retail companies that are using these type of services for tracking sales and/or internet service providers?

MR. SCOTT:  They do have information on publicly traded retail companies, yeah, so your suggestion would be that we add retail to this as well?

MR. ROSENSTOCK:  If possible, if it doesn’t cause too much of an analytical burden. And especially on the – if there’s the large, I would say, internet service providers, if there’s information on them, that would be helpful as well.

MR. SCOTT:  Yeah, we have some information on internet service providers, I believe.  There’s a question here as to the application, I guess, of the equipment.  There was some discussion in the team about whether, for example, server farms were part of this, and we thought they were not.  But there’s some – I see some frowns in the room.  Maybe I’m speaking out of turn.

MR. BROOKMAN:  Dave Winiarski, I see first.

MR. WINIARSKI:  Not a frown, however.  But I think that the issue is a real one.  The type of equipment that we’re talking about, the direct expansion cooling units, are obviously used in computer room closets and some small application.  How that carries on to very large server farms is a big unknown for us.  I think our belief is that generally once you get into large server farms you’re talking about computer room air handlers, which generally are served by chillers, rather than small DX type equipment.   But certainly, we’d welcome any comments to that from manufacturers.

MR. BROOKMAN:  Okay.  You were hoping to get this in writing, I presume, in detail.

MR. WINIARSKI:  Sure, to the extent that – in fact, anyone involved in the industry who has some sense as to really what type of buildings and what type of businesses use the DX type computer room air conditioners that we’re talking about here, and the relative proportion of how they use them, would be useful to have in detail, yes.

MR. BROOKMAN:  Okay.

MR. SCOTT:  And so what we finish with here is there’s going to be a lifetime for the equipment, and there’s some literature on that.  We were able to locate seven sources.  There’s a range, anywhere from ten years to 25 years.  Looking at that literature as a whole, it appears that an average of perhaps 15 years might be an appropriate average lifetime for the equipment.  Lifetime is probably not shorter than ten unless there’s some kind of a major failure, and then probably not longer than 25 years.  We chose, as is commonly used procedures, to use a Weibull distribution which is a statistical distribution that characterizes activities like the survival of equipment and infrequent failure events.

So that’s what went into the life-cycle cost assessment.  I’ll summarize the results briefly.  In general, the life-cycle cost savings that you’ll find in chapter six and in the appendices in the TSD, and also in the NOPR, tended to be pretty strongly negative above the ASHRAE level.  There weren’t very many levels above the ASHRAE level in any of the equipment that had a positive life-cycle cost savings, even given the uncertainties that we’ve been discussing here.  Where the exceptions occurred, there were generally pretty good reasons for it, or some contrary evidence out of the payback periods.

For example, for the smallest air-cooled units at the first two levels, we did have positive life-cycle cost savings. However, the payback periods were fairly long, and the life-cycle cost savings were not particularly large.  For medium and large air-cooled units, we did actually have payback periods that were shorter than four years, but also keep in mind some of the uncertainties we’ve been talking about here.

For the smallest water-cooled and glycol-cooled units which are derived from them in this analysis, the payback periods were negative, and ordinarily you would think that would be a good thing because it would suggest that you’re not only having operating cost savings, but you’re also having first cost savings.  However, as was described this morning, we question whether the price analysis on that equipment was showing something that was truly real for that equipment.

And then for the medium and large water-cooled and glycol-cooled units, we did have some positive LCC savings. However, the payback periods generally were greater than nine years.  In fact, they were generally greater than the lifetime of the equipment by quite a substantial margin.  And we had three cases where we had negative payback periods for some of the equipment with fluid economizers.  And in looking at those, what was happening was that the negative payback period was not because the equipment was getting cheaper as it got more efficient, but in fact, the repair costs were beginning to dominate the electricity savings, so we were getting actually, instead of having operating cost savings, we were having operating cost costs as the equipment became more efficient.  Again, the payback periods were generally longer than equipment lifetime, for the reasons I’ve just given you, the two reasons for that.

So that kind of summarizes what the outcome of the LCC analysis was, in general.

MR. BROOKMAN:  Okay.  So comments on that, on LCC and payback period analysis.  No?  Okay, we’re going to move directly then to – thank you, Mike – to shipments analysis, national impact analysis, utility impact and emissions impact analyses.  Alison Williams.

Shipments Analysis, National Impact Analysis, utility impact and emissions impact analyses

MS. WILLIAMS:  Thank you.  So I’m going to start with the National Impact Analysis.  The purpose of this is to estimate the national energy savings for adopting standards for efficiency levels in ASHRAE Standard 90.1 2010 as well as more stringent levels.  And for more stringent levels we also look at the national economic impact in terms of net present value.

The first component of this is the shipments analysis.  We did not have any shipments data for the United States for CRACs, so we started with historical and forecasted data for Australia as part of their rulemaking process.  We use the ratio of business establishments in the U.S. and Australia to inflate Australian shipments to the U.S. market.  And that inflator was about 13.2.  We then extrapolated the trend that was in the Australia report to estimate future shipments out to the end of our analysis period.  We disaggregated shipments into our 15 product classes, first using Australia market shares for the six categories they had, and then using model availability in the U.S. to further disaggregate into all the product classes.  And again in this analysis we did not distinguish between upflow and downflow units for reasons discussed previously, so there are 15 instead of 30 here.

National energy savings are calculated over the standard 30 year period, beginning with the earliest compliance date which would be based on the adoption of the ASHRAE level.  This would be 2012 for the small CRACs and 2013 for CRACs larger than 65 kBtu per hour.

The net present value, or NPV analysis, extends later because it covers the life cycle installation and operational expenses, so it goes through 2055 or 2056 to account for all the operating cost savings, for shipments through 2041 and 2042.  This assumes a 15 year product lifetime, the average of what Mike discussed earlier.

Both these analyses account for a delay between when DOE can require compliance with standards if they set the level at ASHRAE, which is 2012 or 2013.  A more stringent level would not require compliance until 2017.

We used national average customer prices, energy use, energy prices, repair and maintenance costs from the LCC analysis that Mike just discussed.  Again, these inputs were based on the downflow units but assumed to represent upflow units as well.  The annual time series were discounted to 2012 and we used a constant price assumption for the default NIA forecasts.

We distributed shipments into each of the efficiency levels considered, including the market baseline, ASHRAE level, and four higher efficiency levels.  This was based on the model data that was discussed earlier. And the assumption for the standards case was that equipment less efficient than the standard would roll up to the standard level, but the standard would not affect shipments at the higher efficiency levels.   Once a standard is in place, the new equipment enters the market at the rolled up efficiency levels, but in both the base case and the standards case, the efficiency distributions are frozen throughout time.

So we have three specific issues we’re looking for comment on for the NIA.  First would be whether there would be a rebound effect in computer room energy use.  We’re also interested in whether shipments would change with the higher standard levels.  And finally, any comments on our base case distribution or our prediction of standards case distributions.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  Looking at this distribution in slide 69 for the air-cooled CRACs I saw that you didn’t have a – you have max tech there of five percent of sales.  Wherever I’ve seen the max tech in other rulemakings, it’s usually much much less than five percent, only because just the technology basically almost prototypes and not available on the marketplace, so just kind of curious, with this technology, how you estimated five percent for the max tech case?

MS. WILLIAMS:  So in this case, the max tech is actually a market maximum.

MR. ROSENSTOCK:  It’s already max?

MS. WILLIAMS:  Yeah, so we have a small bin at the end of it, so what we then did to get to that level was five percent.  So I’m not entirely sure what the numbers are off the top of my head for all the other ones, but it is a market maximum, not any prototype or level of that sort.

MR. BROOKMAN:  Karim.

MR. AMRANE:  Karim Amrane, AHRI.  I guess in looking at that chart, it doesn’t appear to be close to any other type of air conditioner.  I mean if you look, for example, the residential AC or the commercial AC, you would see that the majority of the products sold in the market will be at the base case level, and very little at the upper efficiency level.  So I’m surprised to see that the 45 percent are the medium efficiency level.  What about the baseline?  I don’t know.  It doesn’t seem right to me.

MR. BROOKMAN:  Robert.

MR. WILKINS:  Karim, this is Robert Wilkins,  Danfoss.  I was wondering the same thing and I was bouncing around in the back of my head some possible explanation.  But then I thought, you know, in normal commercial office buildings, the equipment is - the buyer of the equipment is so far removed from the tenant, there’s a classic example that the buyer is buying this low cost cheap stuff because he’s so far removed from the tenant that has to pay the electric bill that he has got this inducement to buy this cheap low efficiency equipment.  Likewise, in the home, new construction, for example, the builder is separated from the home owner.  The home owner is typically not buying the equipment.

But in this case, if I heard your arguments and your research and the work you did earlier on, this stuff is sold to the people that are operating the computer room or the laboratory or whatever, and therefore they have done all of this analysis, not only this, but even better because they’ve done it for their own geographic location, their own utility rates, their own climate.  They figured out what’s the right equipment to give them the right payback for their business.  And so that could possibly be, and my hypothesis is that’s why that people are already buying the higher efficiency product.  I’d welcome any feedback on my crazy hypothesis.

MR. ROSENQUIST:  This is Greg Rosenquist from LBL.  This is strictly based on model availability.  So it’s, you know, it certainly could be that reason what you just described, but really it’s just simply taking a percentage of the market in each one of these efficiency levels.  It’s based strictly on model availability.

MR. WILKINS:  But the market availability by -- the manufacturer meets the market demand of what the consumer is specifying.  They’re not producing something that a customer doesn’t want, I still think it reinforces the argument, the hypothesis.

MR. BROOKMAN:  Paul.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  In support of what Rob was saying, another way to look at that is if you look at the dollar value of the equipment that’s in that room, and also the importance of maintaining operation, it’s easy to see that more would be spent on the best possible cooling equipment to maintain – and, you know, a lot of places even put in double systems just to make sure that there is a backup there in case there’s an issue.

MR. BROOKMAN:  Okay.  Additional comments here?

MS. WILLIAMS:  Okay.  So just to sum up the NIA results, cumulatively across all the 15 product classes, ASHRAE - adoption of the efficiency levels in  ASHRAE result in .01 quad of savings.  Going higher would result in anywhere from .07 to .98 quads.  However, the cumulative NPV savings across all product classes range from negative $2.25 billion dollars to $0.1 billion dollars.

That’s all I have for the NIA.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  One quick one to follow up on what Paul said.  In the analysis, and I hadn’t looked at the technical support document, what percentage of the units are considered to be pure backup and plus one units where they’re only operated if the primary unit fails?

MR. BROOKMAN:  Steve Winiarski.

MR. WINIARSKI:  This is Dave Winiarski.  In the – it’s really not taken into account explicitly, but it’s in looking at that 65 percent load factor figure, there’s a discussion in the TSD which talks about that issue and it’s kind of built in so, you know, if you purchased – if you need nine units, you purchase a tenth, or something like that, and that helps to reduce the average load factor on all pieces of equipment, but it’s not an explicit calculation, and we don’t separately analyze back up units from the remainder in the stock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  But again, what I think you did kind of reinforce my point is that there might be ten percent of the units, again, if it’s nine and you purchase ten, then ten percent of the units sold are purchased that are going to have minimal or no energy consumption during the year, they’re just purely backup.  So that again, I don’t know what the percentage is, and then in certain computer rooms, I know they have full backup, where they buy – they need five units for that 65 percent load, they have five backup units.  So it’s actually 50 percent of the units that’s in that room are not being used at all. So again, I don’t know if that data is available.  It might only be a ten percent, might only be a five percent, but it could have – again, it’s not explicit, but there could be an impact on some of the savings estimated if the percentage is high.

MR. BROOKMAN:  Okay.  Thank you.  Yes.  Joanna Mauer.

MS. MAUER:  Joanna Mauer.  So just a couple of observations, I think that the previous – the table on the previous slide, I think shows that certainly significantly higher efficiency levels are certainly technically feasible and there’s – showing that there’s lot of models on the market that significantly exceed the levels in 90.1 2010, and then the – I realize that it’s going to permanate (ph) savings estimates, but range of a tenth of a quad to a quad is – I would certainly consider to be significant potential savings.

Another observation is that the two product classes that make up the bulk of the energy savings potential, the medium and large air cooled air  conditioners also have clearly positive net present value, both the three and seven percent discount rates, suggests to me that there are significant cost effective energy savings that could be achieved from higher efficiency levels.

MS. WILLIAMS:  I think it was Adam went into before some of the - a lot of this analysis was a lot of uncertainties, so although some of the results might suggest you could go higher in some cases, we did not feel we had clear and convincing - or DOE did not feel they had clear and convincing evidence because of some of the reasons we suggested earlier.

MR. BROOKMAN:  Dave Winiarski.

MR. WINIARSKI:  Dave Winiarski, Pacific Northwest National Lab.  One point I would like to emphasize and hopefully we get some feedback from the industry on was that in the analysis of the air-cooled products, we specifically did not incorporate air-cooled economizers in helping to reduce the load on the equipment.  We have very little data on how often or frequent they might be used with this class of equipment, but obviously, that would reduce the loads and to some extent the life-cycle cost savings and the national energy savings potential.  So to the extent that anyone could provide information like that, it would be useful for the analysis.

MR. BROOKMAN:  Okay.  Karim.

MR. AMRANE:  Karim Amrane, AHRI.  I guess question to David.  But I believe that 90.1 has a requirement on the economizer for data centers and have you looked at that?

MR. WINIARSKI:  Yeah, actually I looked at that in a fair amount of detail.  The issue is that 90.1 does have requirements for economizers, but it has a tremendous amount of exceptions for those requirements.  You have to basically, I think that the way that the exceptions are written, they’re really looking at requiring economizers in systems that use large air handlers and water-cooled buildings, and that for this class of equipment, because of the way 90.1 was written, it appears that the requirements for economizers that would be required for comfort cooling applications don’t apply, necessarily, to those for computer room applications.

MR. BROOKMAN:  Additional comments or questions.

MS. WILLIAMS:  Okay.  So moving on to the downstream analyses.  DOE conducted a utility impact analysis to assess the impacts on the domestic energy supplies from the standard.  This was done using NEMS-BT, which is a variation of NEMS used by EIA for their Annual Energy Outlook, and this model assesses the impacts from standards as deviations from the AEO reference case, and as a result - avoided capacity forecasts.

DOE also assesses the emissions from the power plants and the implications that standards have for this.  This comes out of the same NEMS-BT model.  DOE looks at carbon dioxide, sulfur dioxide, nitrogen oxides and mercury.  I should note that NEMS-BT does not show any measurable impact on SO2 because of the clean air amendments that cap SO2 emissions.  There are also some nitrogen oxide caps that limits what NEMS-BT shows for those.

MR. BROOKMAN:  Yes, Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  On this one, just again, I don’t know how DOE is going to incorporate it, but there are – EPA did announce a standard on mercury for power plants that are going  to go into effect, as I recall, within the next three to four years, which is basically near the beginning or right before the beginning of certain standards are going to take effect, and in terms of carbon dioxide, EPA is on track to put out rules on emissions caps for power plants, so at that point I’m just kind of curious when these rules are announced and put in place, is DOE going to use the same rationale for CO2 and mercury as it does for NOX and sulfur dioxide?

MS. WILLIAMS:  So generally, DOE will include, when NEMS is updated, it will include some of the newer rules, especially if there’s a transport rule that deals with NOX.  I think that wasn’t taken into account in AEO 2011, so when AEO 2012 comes out it will take that into account, and we will redo the analysis, so whenever the future rules come out that affect this, NEMS will be updated, and at that point, DOE will be able to take those into account in these analyses.

MR. ROSENSTOCK:  Again, thank you.  Steve Rosenstock, EEI.  So you’ll take the same approach in terms of the economic numbers assigned to these emissions?

MS. WILLIAMS:  So in terms of the monetization, not sure if I can answer that question, so I’ll move on to this very quickly.  Currently DOE monetizes CO2 using the values for the social cost of carbon developed during interagency process.  So as the interagency group revises those values, DOE will take those new values into account.  And similarly, the values for NOX that DOE has been using.  Does anyone else have more –

MR. BROOKMAN:  Greg Rosenquist.

MR. ROSENQUIST:  Yeah, it’s whenever the interagency agreement gets updated, then DOE uses those numbers to monetize carbon, so and since it’s developed through this interagency process –

MR. ROSENSTOCK:  Right.  Steve Rosenstock.  Yeah, I understand that, but the way DOE approaches it, once there’s a cap like there is with sulfur dioxide, DOE says there’s no impact on the upstream emission from the downstream efficiency standard.  So you’re going to take that – I assume you’re going to take that approach with CO2, correct?

MS. ARMSTRONG:  I think the best thing to say is if the rules got – if rules come into effect, we would deal with it at that time.

MR. ROSENSTOCK:  Well, again, Steve Rosenstock.  I appreciate that, thank you very much, but again, the reason I ask that, you’re talking about a 30 year period –

MS. ARMSTRONG:  No, I understand.

MR. ROSENSTOCK:  -- and within five years of that 30 year period, the cap will be in place.

MS. ARMSTRONG:  Sure.  We understand, but the rules have to be promulgated first.

MR. ROSENSTOCK:  They are being promulgated.

MS. ARMSTRONG:  I understand.

MR. ROSENSTOCK:  And they’re finalized, but they –

MS. ARMSTRONG:  We would need finalized before we can speculate.

MR. ROSENSTOCK:  You can’t use a sensitivity case where –

MS. ARMSTRONG:  You can suggest that we should.

MR. ROSENSTOCK:  Okay.  Thank you. 				MR. BROOKMAN:  Okay.  Thank you.  That last set of comments from Ashley.  Okay.  So yes?

MS. WILLIAMS:  That’s all.

MR. BROOKMAN:  That’s all with that.  So Ashley Armstrong to talk about certification, compliance, and enforcement.

Certification, compliance, and enforcement

MS. ARMSTRONG:  Okay.  I only have one slide.  I want to generally explain how our savings plans work for certification, and I understand that we were just earlier – some of the potential issues or concerns with the time, but I do want to make you aware because there are already on the books, and they have been adopted for ASHRAE equipment and … or as the certification … come in December 31st of this year for products that either have to be in compliance with standards, manufacturers are required to use these sampling plans in absence of DOE revising them and going through that process again.  So we’re not going to – you test the minimum units of the basic model, that minimum number is no less than ten.  Unless DOE promulgates some other alternative to testing, like I said, … type rule that we’re working on now, you can test more than two units to our discussion, the actual sample of the basic model, but you’re required to test no less than two.  You determine which federal standards apply, depending on the product, the references are there.  And you calculate your mean and it’s two or more, you calculate your mean of your sample.  You determine your rating values.  This has to do with the distribution of your confidence limit or a lower confidence limit depending on if it’s an efficiency standard or if it’s a consumption standard, and then you actually generate your certification rating.  And what you can do is you can always rate more conservatively, but you can’t do the overrate.  This will give you the maximum number you can rate at.

So it’s not as simple as just running the test once, that’s the number that’s on that you certify that that’s the number that you make representations of.  I just wanted to make that clear.  It’s really, as I stated earlier, DOE is more than willing to work with both industry as well as AHRI to address some of the concerns, but I did want to go over quickly just these are required for some of the equipment we talked about today.  It’s not subject to existing standards.  We’re going through the process of adding it to – proposing to add it to the program.  You won’t be required to certify, DOE will address any certification requirements in a later rule, but you wouldn’t be required to certify.

A total compliance with standards is required, so it will be some time down the road, however if you do make some representations about equipment’s efficiency, you do have to do it with our test procedures as well as our sampling plans.

MR. BROOKMAN:  Karim.

MR. AMRANE:  Karim Amrane, AHRI.  What you’re saying here, does it apply to VRFs as well as  data centers, computer rooms, or what are the products you are talking about here?

MS. ARMSTRONG:  It will apply to VRFs and data centers in terms of testing.  But they will not be required to certify compliance with the standards until the compliance date of the actual standard DOE adopts.  So if they make representations earlier than that, whether in the product literature, in marketing tools, in a certified directory, they need to do it following these steps, but, you know, they don’t have to do it until the compliance date.  And at the moment we don’t have certification requirements on the books for those types of equipment because just in the process of adjusting them in our program.  Okay?

All right, I’m going to turn it back over to you.

MR. BROOKMAN:  Frank Stanonik.  Find a microphone, Frank.

MR. STANONIK:  Frank Stanonik, AHRI.  Ashley, you just made me think of something and I want to make sure that we’ve got it right.  There’s some other things in this NOPR about just updating test methods, without any associated change in the level.  And at least in some cases, the determination has been made that using the new test procedures doesn’t change anything.

I’m assuming, and I’m looking for verification, that in those cases that in effect, this updating of the test procedure does not put any other obligation on the manufacturer to do retests.

MS. ARMSTRONG:  So we will explicitly address that, but unless the rating is going to change, that is correct.

MR. STANONIK:  Okay.  Thanks.

MR. BROOKMAN:  Okay, go on.

MR. BEETON:  I just have a question or maybe a comment, or a combination about the tolerance issue.  You know, as a component manufacturer of compressors, we have lived with the ARI tolerance system, plus or minus five percent on the equipment, which can mean a tighter tolerance on the components, of course, and it’s a very extensive management process at our company to stay within those tolerances.  Now all of a sudden I’m hearing today for the very first time that because you’re now going to have an independent verification method that is going to be separate from ARI’s that we may be subject to something different, which we don’t know.  You haven’t disclosed it.

MS. ARMSTRONG:  So let me clarify it.  One is – I said nothing today about an independent verification program.  DOE does have the discretion to test at any time, should it want to, or should it have a reason to.  It doesn’t mean that -- DOE doesn’t have a formalized verification program up and running right now.  The second part is these are actually sampling plans for certification testing, and certification testing is something a manufacturer does before it actually certifies the efficiency of their product.  They are not new.  They’ve been adopted since 2006, the CFR since 2006.  There is nothing new about these.

MR. BROOKMAN:  Warren, go ahead.

MR. BEETON:  But, we’re going to be subject to different tolerance requirements as a consequence of what the rulemaking today than we have been in the past, is that not correct?

MS. ARMSTRONG:  So it’s going to depend on the – I guess the ultimate answer is yes, there will be definitely, and they’re based upon the distribution of the two units you test.  It’s not a straight out plus or minus five percent.  It could be pretty close to that, but if you have high variability, then the … could be less.

MR. BEETON:  So are you saying that based on a test of a model, a model, which could be two units, you’re going to decide what the variation – allowable variation is for that model based on the test of two units?

MS. ARMSTRONG:  The tolerances already have variation built in them.  They’re based on an upper and lower confidence limit.  It’s going to supposedly reflect – it’s going to tell you what your rating can be.  It’s not for determining the compliance with the standard.

MR. BEETON:  Oh, okay.

MS. ARMSTRONG:  It’s not for enforcement purposes.  It’s just going to tell you what your rating can be.

MR. BEETON:  Okay.

MS. ARMSTRONG:  The plus or minus five percent that they run in the verification program, we have an enforcement tolerance which is different than these.  And that’s how they were determined –

MR. BEETON:  Then my comment has to do with that.  And it has to do – I just want to repeat our concern, not as an equipment manufacturer, but as a component manufacturer that this is a very huge issue for us to see a change which we don’t know you’re going to specify.  You just said today that the information is not available, right.

MS. ARMSTRONG:  It’s been on the books in CFR since 2006.  I can show you.  I can come over there and show you exactly where you can find it.

MR. BEETON:  Okay.  But we, you know, Karim mentioned that ARI is opposed to this.  As a component manufacturer, we’re very much concerned about this issue.  That’s my comment.

MR. AMRANE:  Karim Amrane, AHRI.  The fact that it’s in CFR  2006 doesn’t mean it’s correct, though.

MS. ARMSTRONG:  And I can relate to that.

MR. AMRANE:  So that is why, if DOE is … is five percent for the test procedure, for the HR standard, I think DOE has, at the same time, has to … that to make sure that this other confidence thing … We cannot – as an industry, we will not accept … five percent, without DOE looking as well at that part of the –

MS. ARMSTRONG:  That’s fair, and DOE will work with you.  DOE has never had the five percent in its regs.  So, I mean at this point, we will work with you to work with this, but the five percent has never been in our regs.

MR. BROOKMAN:  Okay.  Final comments on the sampling plans and these specifics that are listed here.  Okay.  I think we’ve covered everything that’s in the agenda to be covered.  Now there’s another opportunity for anybody that wishes to do so to make additional comments here as we move towards closing.  And you can see the Department here specifically invites comment on some issues listed.  Yes.

Closing Remarks

MR. STANONIK:  Frank Stanonik, AHRI.  Just a question, trying to assimilate all this information.  In the case of the computer room air conditioners, you shipment data from Australia because that’s all you could find.  So first question is, does Australia have efficiency requirements for commercial room air conditioners?

MR. BROOKMAN:  Alison.  Alison, you’ve got to find the microphone, please.

MS. WILLIAMS:  (off mic)  Yes.

MR. STANONIK:  Okay.  Are those efficiency requirements different than what I’ll call a comfort air conditioner?

MR. BROOKMAN:  So the first question Alison’s going to answer now, once she pushes her green button.  Yes, thank you.

MS. WILLIAMS:  Alison Williams, LBNL.  Yes, Australia regulates computer room air conditioners.  They call them close control air conditioners.

MR. STANONIK:  Is the efficiency requirement different in Australia than for a comfort air conditioner?

MS. WILLIAMS:  I –

MR. WINIARSKI:  I think that they may have a different metric, and therefore they would have a different standard than a –

MR. STANONIK:  Probably the most  important question.  Does Australia in some way regulate what can be used in a computer room?

MR. WINIARSKI:  I don’t believe so.

MR. STANONIK:  And the reason I was asking again, realizing you’re using the best tools you can, we’ve heard here that in fact, depending, let’s say, on what’s going on in that computer room and what’s required in terms of let’s say precision or reliability, you could use comfort air conditioner in some computer rooms, in some other rooms you might use a computer room air conditioner.  And what I was trying to establish was if the situation was different in Australia, for example, if in Australia they said every computer room had to have a unit listed for that use, then your proportioning won’t work, okay, because in fact we are a different market condition.  But if appears we don’t know that.

MR. WINIARSKI:  Yeah, I was going to say I have no first hand knowledge of them, but I believe that their basic process is similar to our process where it’s regulated as a manufactured component, but I have no idea what’s in their codes and standards for the buildings themselves.  My suspicions is that they would have no restraint, that you could use a standard comfort air conditioner.

MR. STANONIK:  One last question about the analysis you’ve been doing.  And I, for one, we’ve heard a lot about, again, depending on whether the computer room equipment is being used for, there is a higher demand for reliability and a much lower tolerance for air conditioning unit failure, and all that factors into the computer room air conditioner equipment cost, installation, maintenance, all that stuff.  Have you tried to kind of work that into the analysis that in fact there’s just a different – the precision not only relates to maintaining a very tighter band of cooling or temperature, but in fact a very different tolerance for either equipment breakdown or reliability?

MR. WINIARSKI:  Yeah, our analysis doesn’t do that explicitly by any means.  To the extent that that’s reflected in the cost of units, so that may be, but our analysis doesn’t incorporate it.

MR. BROOKMAN:  Steve Rosenstock.

MR. ROSENSTOCK:  Steve Rosenstock, EEI.  In terms of just the general kind of final comments.  I appreciate what all the work that DOE has done in adopting the ASHRAE levels.  I think it will help in terms of just again, reinforcing energy savings.  I work on ASHRAE quite a lot and ASHRAE has really worked very hard to look at everything in terms of the improving efficiency in commercial buildings, so I think where you’ve adopted … levels, I think it kind of supports a lot of the details that ASHRAE does because they have to be cost effective, and I think it will really help efficiency for all commercial buildings and the federal government buildings.  Thank you.

MR. BROOKMAN:  Joanna.

MS. MAUER:  Joanna Mauer.  I just wanted to reiterate that we – the concern with the levels that DOE adopts for computer room air conditioners end up being weaker than the current California standards, but also we’d be concerned if the levels are significantly lower than the levels for other commercial package air conditioners, because there’s not a technical basis for that, so we encourage DOE to look at those things.

MR. BROOKMAN:  Thank you.  So you can see these are closing remarks.  Additional comments and issues that you wish to raise.  Paul.

MR. DOPPEL:  Paul Doppel, Mitsubishi Electric.  I’d also like to thank DOE for the efforts to the ASHRAE new products into the CFR.  This is a last step for VRF products to be sort of fully integrated into the industry, and so we view this as an important step.  And want to recommend that DOE works closely with AHRI on the test standard.  Any concerns that you have with that, to see if there’s something that we can work out to be sure that DOE feels that the standard is representative of all other standards in the industry, and there’s a way to test these very complex systems with manufacturer representatives present, because it is essential for that to take place.

And also we recommend that the operations manuals that AHRI be included in any materials that are incorporated for reference by DOE.

MR. BROOKMAN:  Okay.  Other closing comments.  I see none, so the Department always hands out an evaluation form at the end of these meetings, so I’m going to pass these around, and on my part, I thank you.  We had a very productive meeting.  And I’ll turn it back to Mohammed Khan.

MR. KHAN:  Mohammed Khan, DOE.  Just want to again express appreciation for all the input that we received today.  It’s been a wide scope of input, a lot of concerns that we heard regarding the test standards, the test procedure concerns as well.

And at this point here, I just want to reiterate the importance of comments, written comments, and again here’s how you would do it, and again, the deadline is April 2nd, and if at all possible, I would like to request that you get your comments in earlier than that.  Generally we say the comments come in right about that date and of course we have to analyze and go through the comments and incorporate them into the final rule, which we need to turn around very shortly after that anyway.  So again, if you could get it in sooner, that would be better.

So, with that, I just want to say thank you very much for a very productive day.

(Whereupon, at 1:00 p.m., the meeting in the above captioned matter was adjourned.)

REPORTER'S CERTIFICATE

This is to certify that the attached proceedings before:

U.S. DEPARTMENT OF ENERGY

In the Matter of:

PUBLIC MEETING ON ENERGY CONSERVATION STANDARDS

FOR CERTAIN COMMERCIAL AIR CONDITIONING,

HEATING AND WATER HEATING EQUIPMENT, i.e.,

CERTAIN EQUIPMENT IN ASHRAE STANDARD 90.1.2010

Were held as herein appears and that this is the original transcript thereof for the file of the Department, Commission, Board, Administrative Law Judge or the Agency.

Further, I am neither counsel for or related to any party to the above proceedings.

### Debra Derr

Official Reporter

Dated:	February 21, 2012