## Main
Energy Savings Calculator for
Advanced Technology Specification:
Gas Heaters
Summary
This calculator is intended to illustrate the potential energy savings from the implementation of a gas heater meeting the requirements of the Commercial Building Energy Alliance gas heater advanced technology specification, as compared to a typical baseline model.
Instructions
In order to accurately estimate the energy savings from a high-efficiency gas heater, some user inputs are required. Below, please select and input the appropriate representative building and gas heater characteristics in each of the BLUE boxes.
User Inputs: |  |  |  |  | Value | Value if "Other" | Units
a. Select the gas heater input rating (appoximate): |  |  |  |  | Select an Input Rating | c | kBtu/hr
Note: Ratings are normalized to common sizes for high-efficiency models.
b. Select your climate (operating hours/year): |  |  |  |  | Select Your Climate |  | Hours/yr
c. Select a baseline efficiency for the current gas heater, or as a basis for comparison: |  |  |  |  | 80% |  | %
d. Select the advanced efficiency for a gas heater meeting the CBEA Technology Specification: |  |  |  |  | 90% |  | %
e. Enter your local fuel price (default is the national average of $8.68/MBtu for natural gas): |  |  |  |  | 8.68 |  | $/MBtu
f. Enter the number of additional gas heaters sized and operated similarly in your facility: |  |  |  |  | # of Similar Units
Results
|  |  | Baseline Efficiency Level Gas Heater | CBEA Advanced Efficiency Level Gas Heater
| Annual Energy Consumption (MBtu/yr): | -2.2372e+182
| Annual Energy Cost ($/yr): | -335544.32
| Annual Savings over Baseline (MBtu/yr): |  | -
| Annual Savings over Baseline ($): |  | -
To learn more about how to start saving, please visit the CBEA Technology Specification Website

## Assumptions
Energy Savings Calculator for
Advanced Technology Specification:
Gas Heaters
Assumptions
The following is a listing of assumptions used in this calculator.
Constants
a. | The default cost of natural gas is intended to approximate the U.S. average cost of natural gas in the commercial sector for 2012 at $8.90/Mcf.
Source: EIA Annual Energy Outlook 2012 http://www.eia.gov/forecasts/aeo/
b. | The conversion for MBtu/Mcf is assumed to be 1.025, resulting in an U.S. average cost of natural gas in the commercial sector for 2012 at $8.68/MBtu .
Source: EIA Frequently Asked Questions http://www.eia.gov/tools/faqs/faq.cfm?id=45&t=8
It should be noted that the user can edit the cost of natural gas ($/MBtu) in item e. on the Main tab of the calculator.
Efficiency Levels
a. | Thermal efficiciency for baseline gas heaters is assumed to be 80%, unless the user edits the baseline efficiency in item c. on the Main tab of the calculator.
b. | Thermal efficiciency for gas heaters meeting the CBEA advanced technology specification is assumed to be 90%, unless the user edits the advanced efficiency in item d. on the Main tab of the calculator.
Annual Operating Hours
a. | Estimates for annual operating hours by climate region are adapted from Figure 1 and Table 6 of "Unit Heaters Deserve Attention for Commercial Programs" by Harvey Sachs, April 2003. Actual operating hours can vary significantly with location of heater within building, heater size, operating characteristics, etc.

## Dropdowns (hidden)
Dropdowns
|  |  | 0.8 | 0.9 | 8.72 | #VALUE!
| Input | Hours | Baseline | CBEA | Fuel_Price | Units
| Select an Input Rating | Select Your Climate | 80% | 90% | 8.68 | # of Similar Units
| 130 | Hot (1,000) | Other | Other | Other | 0
| 150 | Warm (1,500) |  |  |  | 1
| 180 | Temperate (2,000) |  |  |  | 2
| 210 | Cold (2,500) |  |  |  | 3
| 260 | Other |  |  |  | 4
| 310 |  |  |  |  | 5
| 400 |  |  |  |  | Other
Other
| Hours | Hours | Hours
| #N/A | Hot (1,000) | 1000
|  | Warm (1,500) | 1500
|  | Temperate (2,000) | 2000
|  | Cold (2,500) | 2500
Input Selection
Select an Input Rating