## Figure 1
Figure 1. Annual and Cumulative Growth in U.S. Wind Power Capacity
| Annual | Cumulative
| US | US
| Wind | Wind
| Capacity | Capacity
| (GW) | (GW)
1998 | 0.14237 | 1.512
1999 | 0.88691 | 2.398
2000 | 0.060855 | 2.453
2001 | 1.6905 | 4.144
2002 | 0.4123 | 4.556
2003 | 1.6678 | 6.226
2004 | 0.39653 | 6.622
2005 | 2.3747 | 8.997
2006 | 2.4536 | 11.451
2007 | 5.2492 | 16.7
2008 | 8.3612 | 25.062
2009 | 9.9999 | 35.062
2010 | 5.2137 | 40.275
2011 | 6.816 | 46.916

## Figure 2
Figure 2. Relative Contribution of Generation Types in Annual Capacity Additions
Nameplate Capacity Additions (GW)
Generation Type | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011
Gas | 29.5036 | 42.7363 | 65.3271 | 53.4122 | 24.1278 | 16.9337 | 9.8978 | 7.6847 | 8.7464 | 10.5462 | 7.531 | 10.4769
Coal | 0.1305 | 0.5197 | 0.0105 | 0.088 | 0.617 | 0.4777 | 0.5966 | 1.5135 | 1.651 | 2.0206 | 5.836 | 1.525
Wind | 0.060855 | 1.6905 | 0.4123 | 1.6678 | 0.39653 | 2.3747 | 2.4536 | 5.2492 | 8.3612 | 9.9999 | 5.2137 | 6.816
Other Renewable | 0.38769 | 0.42187 | 0.73667 | 0.75499 | 0.25702 | 0.17048 | 0.37804 | 0.60198 | 0.52245 | 1.2151 | 1.1459 | 2.2532
Other non-Renewable | 0.9538 | 1.2662 | 1.6595 | 0.405 | 0.293 | 0.2867 | 0.2588 | 0.291 | 0.1161 | 0.1177 | 1.1088 | 0.39843
Total | 31.0364 | 46.6346 | 68.1461 | 56.328 | 25.6913 | 20.2432 | 13.5848 | 15.3404 | 19.3972 | 23.8995 | 20.8354 | 21.4695
Wind % of Total | 0.1961% | 3.625% | 0.605% | 2.961% | 1.543% | 11.73% | 18.06% | 34.22% | 43.11% | 41.84% | 25.02% | 31.75%

## Figure 3
Figure 3. Approximate Wind Energy Penetration in the Twenty Countries with the Greatest Installed Wind Power Capacity
| Approximate | Approximate | Approximate | Approximate | Approximate | Approximate
| Wind | Wind | Wind | Wind | Wind | Wind
| Penetration | Penetration | Penetration | Penetration | Penetration | Penetration
| End of 2006 | End of 2007 | End of 2008 | End of 2009 | End of 2010 | End of 2011
Denmark | 20.43% | 20.47% | 21.93% | 24.15% | 27.52% | 28.99%
Portugal | 7.736% | 9.794% | 13.01% | 15.97% | 17.64% | 19.37%
Spain | 9.68% | 11.95% | 14.1% | 16.19% | 17.6% | 18.61%
Ireland | 7.795% | 8.102% | 10.79% | 12.66% | 15.51% | 18.13%
Germany | 6.842% | 7.419% | 8.518% | 9.409% | 10.22% | 11.18%
Greece | 3.111% | 3.486% | 3.946% | 4.216% | 5.125% | 6.308%
UK | 1.487% | 1.828% | 2.632% | 3.585% | 4.959% | 6.198%
Sweden | 0.8919% | 1.256% | 1.694% | 2.586% | 3.663% | 5.053%
Netherlands | 2.924% | 3.26% | 4.35% | 4.387% | 4.446% | 4.612%
Italy | 1.179% | 1.515% | 2.206% | 2.921% | 3.56% | 4.218%
India | 1.894% | 2.249% | 2.719% | 2.87% | 3.235% | 3.819%
Poland | 0.3455% | 0.623% | 1.062% | 1.747% | 2.524% | 3.405%
U.S. | 0.8262% | 1.209% | 1.876% | 2.51% | 2.862% | 3.319%
France | 0.7452% | 1.129% | 1.71% | 2.214% | 2.751% | 3.141%
China | 0.1824% | 0.3888% | 0.7442% | 1.459% | 2.324% | 2.979%
Turkey | 0.1213% | 0.3441% | 0.8092% | 1.508% | 2.247% | 2.855%
Australia | 0.9498% | 1.134% | 1.822% | 2.119% | 2.29% | 2.662%
Canada | 0.5246% | 0.6728% | 0.9051% | 1.287% | 1.579% | 2.11%
Brazil | 0.1199% | 0.1962% | 0.3456% | 0.4485% | 0.5876% | 0.8348%
Japan | 0.253% | 0.3048% | 0.3812% | 0.4213% | 0.4715% | 0.5124%
TOTAL | 0.9219% | 1.158% | 1.535% | 1.987% | 2.42% | 2.862%

## Figure 4
Figure 4. Location of Wind Power Development in the United States
| Cumulative MW | Incremental MW
| end of 2011 | in 2011
TX | 10393.685 | 296.9
IA | 4321.923 | 646.7
CA | 3917 | 921.3
IL | 2742 | 692.45
MN | 2718 | 542.33
WA | 2572.68 | 367.4
OR | 2512.94 | 409.3
OK | 2006.8 | 524.9
CO | 1804.55 | 506
ND | 1444.63 | 21
WY | 1412.355 | 0
NY | 1403.05 | 128.55
IN | 1340.05 | 0.9
KS | 1274.1 | 199.8
PA | 789.43 | 41.2
SD | 784.164 | 75
NM | 750.28 | 50.4
WI | 631.395 | 162
ID | 617.616 | 265.1
WV | 564.1 | 133.6
MO | 458.5 | 1.5
ME | 397 | 130.6
MT | 385.53 | 0
MI | 377.395 | 212.9
NE | 337.48 | 124.5
UT | 325.285 | 102
AZ | 139.1 | 11
MD | 120.3 | 50
OH | 112.325 | 101.5
HI | 91.56 | 30
MA | 47.37 | 27.7
VT | 46.45 | 40
TN | 28.98 | 0
NH | 25.5 | 0
AK | 11 | 0
NJ | 7.5 | 0
RI | 2.36 | 0
DE | 2 | 0
AR | 0.1 | 0
CT | 0.1 | 0
NC | 0.1 | 0
| 46916 | 6816

## Figure 5
Figure 5. Proposed Offshore Wind Power Projects in a Relatively Advanced State of Development
This figure does not contain any data that are not already shown in the figure.

## Figure 6
Figure 6. Nameplate Resource Capacity in 41 Selected Interconnection Queues
GW | Wind | Natural Gas | Solar | Nuclear | Coal | Other
Entered queue in 2011 | 40.051 | 54.076 | 24.947 | 2.646 | 2.543 | 6.986
Total in queue at end of 2011 | 219.081 | 143.084 | 61.135 | 26.048 | 15.13 | 18.891

## Figure 7
Figure 7. Wind Power Capacity in 41 Selected Interconnection Queues
| Entered Queue in 2011 | Total in Queue at end of 2011
| (GW) | (GW)
MISO / Midwest | 7.238 | 47.494
PJM | 5.438 | 44.299
ERCOT | 6.744 | 31.766
Mountain | 3.785 | 25.224
Northwest | 2.898 | 24.733
SPP | 6.118 | 20.027
California ISO | 6.815 | 16.13
New York ISO | 0.258 | 5.699
ISO-New England | 0.695 | 3.077
Southeast | 0.062 | 0.693
| 40.051 | 219.142

## Figure 8
Figure 8. Annual U.S. Market Share of Wind Manufacturers by MW, 2005-2011
| 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011
GE Wind | 1431 | 1146 | 2341.5 | 3585 | 3994.5 | 2543.2 | 2006.1
Vestas | 699.15 | 439.251 | 948.35 | 1120.035 | 1488.11 | 221.1 | 1969.35
Siemens | 0 | 572.7 | 862.5 | 791.2 | 1161.5 | 828 | 1233.1
Suzlon | 0 | 91.55 | 196.9 | 737.5 | 702 | 412.6 | 333.9
Mitsubishi | 190 | 128 | 356 | 516.4 | 814.4 | 350.4 | 317.8
Nordex | 0 | 0 | 2.5 | 0 | 62.5 | 20 | 287.5
Clipper | 2.5 | 0 | 47.5 | 470 | 605 | 70 | 257.5
REpower | 0 | 0 | 0 | 94 | 330.35 | 68.45 | 171.95
Gamesa | 50 | 74 | 494 | 616 | 600 | 564 | 154
Acciona | 0 | 0 | 0 | 409.5 | 204 | 99 | 0
Other | 2.015 | 2.05 | 0 | 21.6 | 37.85 | 36.95 | 85.33
| 2374.665 | 2453.551 | 5249.25 | 8361.235 | 10000.21 | 5213.7 | 6816

## Figure 9
Figure 9. Location of Existing and New Turbine and Component Manufacturing Facilities
This figure does not contain any data that are not already shown in the figure.

## Figure 10
Figure 10. Domestic Wind Turbine Nacelle Assembly Capacity and Demand
Figure provided by Bloomberg New Energy Finance

## Figure 11
Figure 11. Number of Operating Wind Turbine and Component Manufacturing Facilities on U.S. Soil
Number of
Manufacturing Facilities
| Opened | Opened
| before 2011 | in 2011
Other | 85 | 7
Nacelle Components | 28 | 4
Towers | 21 | 2
Blades | 15 | 2
Turbines | 18 | 1

## Figure 12
Figure 12. Estimated Imports of Wind-Powered Generating Sets, Towers, and Other Wind Turbine Components, as Well as Exports of Wind-Powered Generating Sets
|  | Imports |  |  |  | Exports
|  | Billion US$2011 |  |  |  | Million US$2011
| Annual Capacity Additions (GW) | Wind-Powered Generating Sets | Towers | Other | Total Error (±) | Wind-Powered Generating Sets
2005 | 2375 | 555711589 | 94607415 | 710940618 | 272515695 | 4176708
2006 | 2454 | 1348594775 | 230275014 | 897119660 | 312856388 | 92954468
2007 | 5249 | 2581925115 | 544132503 | 1524826439 | 488840192 | 15359453
2008 | 8361 | 2615399127 | 888009009 | 2129780203 | 630182980 | 23060956
2009 | 10000 | 2390523628 | 545587428 | 1300856062 | 442890029 | 122671448
2010 | 5214 | 1260376769 | 386066369 | 895371053 | 359893293 | 146602216
2011 | 6816 | 1233939514 | 440334101 | 1179003300 | 442126238 | 149377396

## Figure 13
Figure 13. Origins of Imports of Wind-Powered Generating Sets and Towers
Wind Powered Generating Sets
| Europe | [5 empty] | Asia |  |  | Other
| Denmark | Spain | Germany | UK | Italy | Other Europe | Japan | India | Other Asia
2005 | 68% | 9.3% | 0% | 4.8% | 1.8% | 0.4% | 13% | 2.6% | 0% | 0%
2006 | 52.2% | 13% | 4.7% | 3.3% | 0.1% | 0% | 8% | 17.9% | 0.7% | 0.1%
2007 | 40.6% | 17.8% | 8.9% | 5.5% | 0% | 0.1% | 12.9% | 10.7% | 3.6% | 0.1%
2008 | 28.2% | 26.7% | 11.9% | 5.5% | 1.3% | 3.4% | 15.1% | 7.1% | 0.6% | 0.1%
2009 | 34.5% | 13.3% | 8.9% | 5.4% | 0% | 0.6% | 25.5% | 10.7% | 0.3% | 0.8%
2010 | 57.2% | 6.8% | 4.2% | 0.1% | 7% | 0.2% | 1% | 21.3% | 1.4% | 0.7%
2011 | 54.8% | 7.7% | 8.1% | 0.1% | 24.3% | 0.5% | 0% | 0.9% | 2.5% | 1%
Towers
| Asia |  |  |  | North America |  | All Europe | Other
| China | Vietnam | Korea | Other Asia | Canada | Mexico
2011 | 44.4% | 17.9% | 13.5% | 4.6% | 9.3% | 7.5% | 2.7% | 0%
Note: Sum may not total 100% due to rounding

## Figure 14
Figure 14. Estimated Wind Power Equipment Imports as a Fraction of Total Turbine Cost
| 2005-2006 | 2007-2008 | 2009-2010 | 2011
Total Turbine Equipment Cost | 2.34 | 8.15 | 10.34 | 8.87
| Sept 2004 - Aug 2006 | Sept 2007 - Aug 2009 | Sept 2008 - Aug 2010 | Sept 2010 - Aug 2011
Value of Selected Imports | 1.51 | 4.59 | 4.07 | 2.93
Estimated Import Fraction | 64.6% | 56.3% | 39.4% | 33%
Estimated Import Fraction Error (±) | 11.8% | 6% | 4.5% | 4.8%
Note: Dollar values in billion US$2011

## Figure 15
Figure 15. Average Turbine Nameplate Capacity Installed During Period (only turbines > 100 kW)
This figure does not contain any data that are not already shown in the figure.

## Figure 16
Figure 16. Average Rotor Diameter and Hub Height Installed During Period
COD: # Turbines: # MW: | 1998-99 1,403 1,001 | 2000-01 1,974 1,751 | 2002-03 1,683 2,074 | 2004-05 1,918 2,734 | 2006 1,477 2,402 | 2007 3,190 5,249 | 2008 5,004 8,349 | 2009 5,733 9,993 | 2010 2,901 5,208 | 2011 3,464 6,816
Hub Height (m) | 55.6958 | 58.1507 | 66.1165 | 73.4169 | 76.6567 | 78.1616 | 78.4965 | 78.8542 | 79.7689 | 81.0043
Rotor Diameter (m) | 47.802 | 52.8873 | 63.5726 | 72.8058 | 78.2106 | 79.0393 | 79.3343 | 81.5585 | 84.3247 | 89.0305

## Figure 17
Figure 17. Cumulative and 2011 Wind Power Capacity Categorized by Owner Type
Through Year | GW |  |  |  | Percent of Total
| IOU | POU | IPP | Other | IOU | POU | IPP | Other
1998 | 0.00725 | 0.008405 | 1.4886 | 0.003035 | 0.481% | 0.5576% | 98.76% | 0.2014%
1999 | 0.079736 | 0.024319 | 2.2853 | 0.004865 | 3.33% | 1.016% | 95.45% | 0.2032%
2000 | 0.079736 | 0.027719 | 2.3425 | 0.00509 | 3.248% | 1.129% | 95.42% | 0.2073%
2001 | 0.091856 | 0.038149 | 4.0065 | 0.009106 | 2.216% | 0.9202% | 96.64% | 0.2197%
2002 | 0.091856 | 0.104 | 4.3374 | 0.024654 | 2.015% | 2.282% | 95.16% | 0.5409%
2003 | 0.091856 | 0.13641 | 5.905 | 0.09237 | 1.475% | 2.191% | 94.85% | 1.484%
2004 | 0.25236 | 0.1567 | 6.0883 | 0.1249 | 3.811% | 2.366% | 91.94% | 1.886%
2005 | 0.60176 | 0.22211 | 8.025 | 0.14805 | 6.688% | 2.469% | 89.2% | 1.646%
2006 | 1.1904 | 0.24813 | 9.769 | 0.24295 | 10.4% | 2.167% | 85.32% | 2.122%
2007 | 1.7177 | 0.51583 | 14.1735 | 0.29265 | 10.29% | 3.089% | 84.87% | 1.752%
2008 | 3.2059 | 0.55273 | 20.8303 | 0.47193 | 12.79% | 2.206% | 83.12% | 1.883%
2009 | 4.2633 | 1.0661 | 29.0781 | 0.65363 | 12.16% | 3.041% | 82.94% | 1.864%
2010 | 4.8649 | 1.2196 | 33.4417 | 0.74868 | 12.08% | 3.028% | 83.03% | 1.859%
2011 | 6.3567 | 1.4235 | 38.4071 | 0.90406 | 13.5% | 3.023% | 81.56% | 1.92%

## Figure 18
Figure 18. Cumulative and 2011 Wind Power Capacity Categorized by Power Off-Take Arrangement
Through Year | GW |  |  |  |  | Percent of Total
| IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant | IOU | POU | Power Marketer | On-Site | Merchant/Quasi-Merchant
1998 | 1.4561 | 0.048655 | 0 | 0.002605 | 0 | 96.6% | 3.228% | 0% | 0.1728% | 0%
1999 | 2.2949 | 0.095469 | 0.00013 | 0.003705 | 0 | 95.85% | 3.987% | 0.00543% | 0.1547% | 0%
2000 | 2.3134 | 0.11567 | 0.01053 | 0.00393 | 0.01155 | 94.23% | 4.711% | 0.4289% | 0.1601% | 0.4705%
2001 | 2.8015 | 0.4629 | 0.83469 | 0.004946 | 0.04155 | 67.58% | 11.17% | 20.13% | 0.1193% | 1.002%
2002 | 2.975 | 0.59487 | 0.94029 | 0.006194 | 0.04155 | 65.27% | 13.05% | 20.63% | 0.1359% | 0.9116%
2003 | 3.7771 | 0.85868 | 1.5413 | 0.007044 | 0.04155 | 60.67% | 13.79% | 24.76% | 0.1131% | 0.6674%
2004 | 4.1256 | 0.90502 | 1.5413 | 0.008719 | 0.04155 | 62.3% | 13.67% | 23.27% | 0.1317% | 0.6274%
2005 | 5.4777 | 1.3331 | 1.8659 | 0.021704 | 0.2985 | 60.88% | 14.82% | 20.74% | 0.2412% | 3.318%
2006 | 6.6227 | 1.6698 | 2.0401 | 0.024999 | 1.0928 | 57.84% | 14.58% | 17.82% | 0.2183% | 9.544%
2007 | 9.0756 | 2.5888 | 3.092 | 0.026499 | 1.9168 | 54.35% | 15.5% | 18.52% | 0.1587% | 11.48%
2008 | 11.8345 | 4.3555 | 3.6929 | 0.073084 | 5.1049 | 47.22% | 17.38% | 14.74% | 0.2916% | 20.37%
2009 | 15.3901 | 6.824 | 4.0606 | 0.12433 | 8.6621 | 43.9% | 19.46% | 11.58% | 0.3546% | 24.71%
2010 | 17.4868 | 8.4349 | 4.3721 | 0.13993 | 9.841 | 43.42% | 20.94% | 10.86% | 0.3474% | 24.43%
2011 | 21.7889 | 9.3336 | 4.5189 | 0.17503 | 11.2749 | 46.27% | 19.82% | 9.596% | 0.3717% | 23.94%

## Figure 19
Figure 19. Reported U.S. Wind Turbine Transaction Prices over Time
2011 $/kW
Order Size: | <5 MW | 5-100 MW | >100 MW
1997-02-01 | 1645.8686
1997-12-01 | 1282.3734
1998-01-01 | 1255.8711
1998-05-01 |  | 1060.0584
1998-05-01 |  | 1212.4851
1998-08-01 |  | 991.5403
1998-08-01 |  | 991.5403
1998-11-01 |  | 1231.1571
1998-11-01 |  |  | 1101.9326
2000-07-01 |  |  | 608.6023
2000-12-01 |  |  | 845.7987
2001-03-01 |  | 981.3358
2001-04-01 |  |  | 627.5791
2002-02-01 |  | 818.4229
2002-04-01 |  |  | 620.6181
2002-05-01 |  | 742.2092
2002-06-01 |  |  | 832.3145
2002-08-01 |  | 743.1457
2002-12-01 |  |  | 842.2944
2003-05-01 |  | 1012.5018
2003-06-01 |  |  | 977.4983
2003-07-01 |  | 1042.493
2004-12-01 |  |  | 999.9507
2004-08-01 |  | 1047.9044
2005-03-01 |  | 1144.4538
2005-05-01 |  | 1329.8122
2005-11-01 |  |  | 1304.87
2006-01-01 |  |  | 1335.1411
2006-05-01 |  |  | 1321.2828
2006-06-01 |  |  | 1205.65
2006-07-01 |  |  | 1244.7797
2006-07-01 |  |  | 1186.7595
2006-09-01 |  |  | 1151.5548
2006-09-01 |  | 1582.8993
2007-03-01 |  |  | 1302.4289
2007-03-01 |  |  | 1373.0426
2007-03-01 |  | 1161.9709
2007-04-01 |  | 1189.1384
2007-05-01 |  |  | 1033.8682
2007-06-01 |  |  | 1418.4764
2007-06-01 |  |  | 1576.5316
2007-06-01 |  |  | 1333.1545
2007-06-01 |  |  | 1181.6404
2007-07-01 | 1562.2738
2007-08-01 | 2009.494
2007-09-01 |  |  | 1399.2957
2007-09-01 |  |  | 1416.2569
2007-10-01 |  |  | 1481.7863
2007-10-01 |  |  | 1543.7507
2007-11-01 |  |  | 1553.0218
2007-12-01 |  |  | 1375.3588
2008-01-01 |  | 1738.5447
2008-01-01 |  |  | 1318.6777
2008-02-01 |  |  | 1475.6392
2008-03-01 |  |  | 1400.9404
2008-04-01 |  |  | 1850.2813
2008-04-01 | 2096.8734
2008-06-01 |  |  | 1707.8335
2008-08-01 | 1593.9297
2008-10-01 |  | 1520.8057
2008-11-01 |  | 1544.7321
2008-11-01 |  |  | 1148.7292
2008-12-01 | 1748.5685
2009-02-01 | 1239.3801
2009-03-01 |  | 1438.2803
2009-04-09 |  | 1107.2625
2009-05-01 | 1343.8869
2009-06-01 |  | 1476.35
2009-07-01 | 1627.9638
2009-07-01 |  | 1692.2872
2009-08-01 |  |  | 1377.089
2009-09-01 | 1689.0386
2009-10-01 |  |  | 1601.206
2009-12-01 |  |  | 1646.2663
2010-01-01 |  | 2005.5112
2010-01-01 |  | 1538.6594
2010-03-01 |  | 1537.5497
2010-06-01 |  | 1213.7629
2010-07-01 | 1530.1665
2010-07-01 |  |  | 1427.8509
2010-07-01 | 1564.1702
2010-08-01 |  |  | 1365.9775
2010-10-01 |  | 1256.7022
2010-10-01 |  | 1201.2594
2011-02-01 |  | 1234.2944
2011-02-01 |  | 1326.3252
2011-03-01 |  | 1177.7068
2011-05-31 | 1126.9894
2011-05-01 | 1669.6139
2011-06-01 | 1199.6572
2011-08-01 | 1659.3439
2011-09-01 | 1658.8583
2011-09-01 |  |  | 1285.6152
2011-10-01 |  |  | 1332.6209
2011-10-01 |  | 970.148
2011-11-01 |  |  | 1336.2075

## Figure 20
Figure 20. Installed Wind Power Project Costs over Time (including preliminary sample of 2012 project costs)
Capacity-
Weighted
Average
2011 $/kW
1982
1983
1984 | 4826.1676
1985 | 3638.3207
1986
1987 | 2050.9998
1988
1989 | 2559.8674
1990 | 2891.3972
1991
1992
1993
1994 | 1773.5373
1995 | 1841.2442
1996 | 1504.8863
1997 | 2435.4931
1998 | 1385.7905
1999 | 1629.0083
2000 | 1640.9494
2001 | 1288.513
2002 | 1505.5819
2003 | 1366.3184
2004 | 1257.0239
2005 | 1473.4671
2006 | 1642.5121
2007 | 1803.7524
2008 | 2011.1422
2009 | 2192.1984
2010 | 2188.4958
2011 | 2098.1114
2012 | 1754.653
Note on A37: MABolinger: The 2012 number is preliminary.

## Figure 21
Figure 21. Installed Wind Power Project Costs by Project Size: 2009-2011 Projects
| 2009-2011 | 2009-2011 | 2009-2011
Project | Sample | Sample | Average Cost
Size | Projects | MW | 2011 $/kW
≤5 MW | 52 | 99.85 | 2533.613
5-20 MW | 34 | 429.55 | 2313.8265
20-50 MW | 39 | 1403.78 | 2191.6381
50-100 MW | 56 | 4372.25 | 2135.7692
100-200 MW | 72 | 9604.61 | 2198.1352
>200 MW | 22 | 5284 | 2094.3196
Total | 275 | 21194.04

## Figure 22
Figure 22. Installed Wind Power Project Costs by Turbine Size: 2009-2011 Projects
| 2009-2011 | 2009-2011 | 2009-2011
Turbine | Sample | Sample | Average Cost
Size | Projects | MW | 2011 $/kW
<1 MW | 15 | 19.75 | 2442.2361
1-1.75 MW | 142 | 9447.84 | 2214.244
1.75-2.5 MW | 92 | 9636.95 | 2124.9576
≥2.5 MW | 26 | 2089.5 | 2102.9096
Total | 275 | 21194.04

## Figure 23
Figure 23. Installed Wind Power Project Costs by Region: 2009-2011 Projects
| 2009-2011 | 2009-2011 | 2009-2011
| Sample | Sample | Average Cost
| MW | Projects | 2011 $/kW
Texas | 3256.16 | 30 | 2053.1286
Mountain | 5901.93 | 81 | 2098.7369
Great Lakes | 3328.2 | 34 | 2105.4047
Heartland | 2091.4 | 20 | 2127.0998
Northwest | 3307.95 | 48 | 2222.0217
East | 1383.25 | 20 | 2300.2666
New England | 1502.2 | 19 | 2472.2873
California | 422.95 | 23 | 2521.3567
Total US | 21194.04 | 275 | 2162.8815

## Figure 24
Figure 24. Average O&M Costs for Available Data Years from 2000-2011, by Commercial Operation Date
The data for Figure 24 are not provided because some of the data points are confidential.

## Figure 25
Figure 25. Median Annual O&M Costs by Project Age and Commercial Operation Date
Commercial Operation Date | Number of Years Since Commercial Operation Date
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
1998-2004 | 12.169 | 12.0424 | 11.2453 | 13.7436 | 16.716 | 19.5062 | 21.3697 | 16.6817 | 20.2203 | 19.5076
2005-2010 | 7.3628 | 7.3508 | 7.1346 | 9.1889 | 9.5612 | 11.1015 | n/a | n/a | n/a | n/a
n/a = insufficient data

## Figure 26
Figure 26. Average Cumulative Sample-Wide Capacity Factor by Calendar Year
| Capacity | Capacity
| Factor | Factor
| (based on actual | (based on estimated
| generation, with | generation, if no
| curtailment) | curtailment)
1999 | 25.34% | 25.34%
2000 | 26.67% | 26.67%
2001 | 28.88% | 28.88%
2002 | 29.39% | 29.39%
2003 | 27.97% | 27.97%
2004 | 29.42% | 29.42%
2005 | 28.9% | 28.9%
2006 | 31.33% | 31.33%
2007 | 31.92% | 32.03%
2008 | 33.71% | 34.76%
2009 | 29.48% | 31.32%
2010 | 30.49% | 31.23%
2011 | 33.12% | 33.99%

## Figure 27
Figure 27. 2011 Project Capacity Factors by Commercial Operation Date
Capacity-
Weighted
Average
Project | Sample | Sample | Capacity
Vintage | MW | Projects | Factor
Pre-1998 | 474.9 | 5 | 17%
1998-99 | 777.14 | 24 | 27.29%
2000-01 | 1616.57 | 25 | 30.39%
2002-03 | 2061.17 | 38 | 32.15%
2004-05 | 3578.11 | 29 | 34.5%
2006 | 1754.8 | 22 | 33.4%
2007 | 5071 | 36 | 34.62%
2008 | 8007.55 | 72 | 34.18%
2009 | 9275.65 | 96 | 32.42%
2010 | 4989.2 | 50 | 33.55%
Total | 37606.09 | 397

## Figure 28
Figure 28. Index of Wind Resource Quality at 80 Meters vs. Inverse of Specific Power
| Index of | Inverse of
| Average Wind | Average
| Resource Quality | Specific
| at 80m Hub Height | Power
| (1998-99=100) | (m^2/kW)
1998-99 | 100 | 2.4965
2000-01 | 98.1033 | 2.4763
2002-03 | 96.0076 | 2.5748
2004-05 | 97.3528 | 2.8567
2006 | 93.1077 | 2.9962
2007 | 94.7333 | 2.9817
2008 | 95.3227 | 2.9649
2009 | 88.0457 | 2.9976
2010 | 86.3557 | 3.1108
2011 | 83.8701 | 3.1636

## Figure 29
Figure 29. 2011 Project Capacity Factors by Region: 2004-2010 Projects Only
| 2004-2010 | 2004-2010 | Regional
| Capacity | Project | Capacity
| Sample | Sample | Factor
East | 2281.95 | 26 | 24.88%
Northwest | 290.82 | 10 | 28.01%
New England | 1126.56 | 14 | 29.45%
Great Lakes | 3897.9 | 29 | 30.26%
Texas | 4444.7 | 51 | 31.88%
Mountain | 8256.2 | 48 | 34.64%
California | 3026.3 | 29 | 35.81%
Heartland | 9468.48 | 98 | 36.99%
Total US | 32792.91 | 305 | 33.61%

## Figure 30
Figure 30. Average Wind Speed at 80 Meters (with regional boundaries)
This figure does not contain any data that are not already shown in the figure.

## Figure 31
Figure 31. Cumulative Capacity-Weighted Average Wind Power Prices over Time
| Cumulative | 25% | 75%
| Price | Quartile | Quartile | Sample | Sample
| (2011 $/MWh) | (2011 $/MWh) | (2011 $/MWh) | MW | # Projects
1999 | 61.9248 | 53.468 | 64.2886 | 588.41 | 11
2000 | 60.2955 | 52.9364 | 64.2027 | 600.29 | 12
2001 | 58.7092 | 44.3455 | 62.1619 | 740.85 | 22
2002 | 45.8892 | 41.1566 | 59.3265 | 1444.09 | 33
2003 | 39.4732 | 35.5646 | 49.5492 | 2294.32 | 47
2004 | 38.528 | 35.0644 | 48.1106 | 3102.77 | 64
2005 | 36.6829 | 31.7364 | 45.7896 | 4055.53 | 80
2006 | 37.0781 | 32.3948 | 45.0232 | 4986.91 | 97
2007 | 39.1791 | 33.6163 | 46.097 | 7979.51 | 120
2008 | 42.1469 | 34.4254 | 52.0274 | 10534.91 | 150
2009 | 46.2589 | 34.5688 | 54.4548 | 13701.26 | 184
2010 | 50.6034 | 35.5768 | 62.2327 | 17190.39 | 233
2011 | 54.0899 | 36.275 | 63.0157 | 20188.67 | 271

## Figure 32
Figure 32. 2011 Wind Power Prices by Project Commercial Operation Date
| 2011 Price | Sample | Sample
Vintage | (2011 $/MWh) | MW | # Projects
1998-99 | 33.6211 | 649.76 | 14
2000-01 | 34.9796 | 853.68 | 21
2002-03 | 32.043 | 1648.36 | 33
2004-05 | 33.1945 | 1269.46 | 21
2006 | 48.8991 | 742.28 | 14
2007 | 46.2884 | 3189.6 | 24
2008 | 51.6694 | 2669.3 | 31
2009 | 60.5962 | 3986.55 | 53
2010 | 73.4369 | 2386.2 | 27
2011 | 73.9849 | 2793.48 | 33
|  | 20188.67 | 271

## Figure 35
Figure 35. 2011 Wind Power Prices by Region: 2010-2011 Projects Only
2011
| Regional | 2010-2011 | 2010-2011
| Price | Sample | Sample
Region | (2011 $/MWh) | MW | # Projects
Texas | 37.5 | 78.2 | 1
Heartland | 50.6454 | 1394.83 | 23
Mountain | 60.7549 | 867.7 | 6
New England | 66.6287 | 112.75 | 3
Great Lakes | 66.8349 | 600.1 | 5
East | 76.0351 | 313.7 | 5
Northwest | 88.4772 | 724.2 | 7
California | 110.3398 | 1088.2 | 10
|  | 5179.68 | 60

## Figure 36
Figure 36. Average Cumulative Wind and Wholesale Electricity Prices over Time
| Wholesale | Wholesale | Cumulative | Wind | Wind
| Power Price | Power Price | Wind | 25% | 75%
| Min | Max | Price | Quartile | Quartile
| (2011 $/MWh) | (2011 $/MWh) | (2011 $/MWh) | (2011 $/MWh) | (2011 $/MWh)
2003 | 30.3718 | 60.6728 | 39.4732 | 35.5646 | 49.5492
2004 | 33.5061 | 59.461 | 38.528 | 35.0644 | 48.1106
2005 | 50.1842 | 85.9025 | 36.6829 | 31.7364 | 45.7896
2006 | 40.8692 | 67.6463 | 37.0781 | 32.3948 | 45.0232
2007 | 45.3852 | 75.5055 | 39.1791 | 33.6163 | 46.097
2008 | 47.2164 | 88.6408 | 42.1469 | 34.4254 | 52.0274
2009 | 24.4162 | 43.508 | 46.2589 | 34.5688 | 54.4548
2010 | 26.2809 | 51.1573 | 50.6034 | 35.5768 | 62.2327
2011 | 22.3431 | 47.7033 | 54.0899 | 36.275 | 63.0157

## Figure 37
Figure 37. Wind and Wholesale Electricity Prices by Region: 2010-2011 Projects Only
| 2011 | 2011 | 2011
| Wholesale | Wholesale | Wind
Region | Min | Max | Avg
Name | 2011 $/MWh | 2011 $/MWh | 2011 $/MWh
Texas | 41.4921 | 42.9921 | 37.5
Heartland | 22.3431 | 29.7378 | 50.6454
Mountain | 28.9928 | 29.9492 | 60.7549
New England | 28.1414 | 30.0758 | 66.6287
Great Lakes | 23.122 | 25.9849 | 66.8349
East | 44.6277 | 45.4135 | 76.0351
Northwest | 31.0125 | 42.6826 | 88.4772
California | 36.9919 | 47.7033 | 110.3398
Total US | 22.3431 | 47.7033 | 73.7324

## Figure 38
Figure 38. State RPS Policies and Non-Binding Renewable Energy Goals (as of June 2012)
This figure does not contain any data that are not already shown on the map.

## Figure 39
Figure 39. Integration Costs at Various Levels of Wind Power Capacity Penetration
Study | Wind Penetration (Capacity Basis) | Integration Cost ($/MWh)
APS (2007) | 1.5% | 0.91
APS (2007) | 5.9% | 3.25
APS (2007) | 10.4% | 3.57
APS (2007) | 14.8% | 4.08
Avista (2007) | 5% | 2.75
Avista (2007) | 10% | 6.99
Avista (2007) | 20% | 6.65
Avista (2007) | 30% | 8.84
BPA (2009) | 35.65% | 5.7004
BPA (2011) | 44.7% | 5.4353
CA RPS (2009) | 4% | 0.45333
EWITS (2010) | 31.74% | 5.13
EWITS (2010) | 32.06% | 4.6234
EWITS (2010) | 32.67% | 3.1
EWITS (2010) | 47.93% | 4.54
Idaho Power (2007) | 10% | 5.72
Idaho Power (2007) | 20% | 9.15
Idaho Power (2007) | 30% | 9.35
MN-MISO (2006) | 18.57% | 2.969
MN-MISO (2006) | 24.73% | 4.121
MN-MISO (2006) | 30.7% | 4.407
Nebraska (2010) - Shaped Proxy | 16.68% | 1.39
Nebraska (2010) - Shaped Proxy | 33.22% | 1.45
Nebraska (2010) - Shaped Proxy | 33.22% | 1.52
Nebraska (2010) - Shaped Proxy | 63.12% | 1.75
Nebraska (2010) - Daily Flat Block | 16.68% | 3.21
Nebraska (2010) - Daily Flat Block | 33.22% | 4.29
Pacificorp (2005) | 11.21% | 4.64
Pacificorp (2007) | 18.2% | 5.1
Pacificorp (2010) | 12.67% | 8.85
Pacificorp (2010) | 16.92% | 9.71
Puget Sound Energy (2007) | 3.992% | 5.866
Puget Sound Energy (2007) | 6.942% | 6.284
Puget Sound Energy (2007) | 12.15% | 6.935
SPP-SERC (2011) | 34.1% | 4.9
We Energies (2003) | 3.549% | 1.9
We Energies (2003) | 7.097% | 2.47
We Energies (2003) | 14.19% | 2.83
We Energies (2003) | 28.39% | 2.92
Xcel-MNDOC (2004) | 15% | 4.6
Xcel-PSCo (2006) | 10% | 3.51
Xcel-PSCo (2006) | 15% | 4.77
Xcel-PSCo (2008) | 20% | 8.56
Xcel-PSCo (2008) - 2006 Gas Prices | 20% | 5.13
Xcel-PSCo (2011) | 27.43% | 3.68
Xcel-PSCo (2011) | 42.42% | 4.09
Xcel-PSCo (2011) - Cycling Cost | 27.43% | 4.45
Xcel-PSCo (2011) - Cycling Cost | 42.42% | 5.12
Xcel-UWIG (2003) | 3.5% | 1.85

## Figure 40
Figure 40. Incremental Balancing Reserves at Various Levels of Wind Power Capacity Penetration
Study | Wind Penetration (Capacity Basis) | Increase in Balancing Reserves (Incremental Reserve MW / Incremental Wind MW) | Scheduling Period
APS (2007) | 1.5% | 1.4% | >15 min
APS (2007) | 5.9% | 12.98% | >15 min
APS (2007) | 10.4% | 14.96% | >15 min
APS (2007) | 14.8% | 14.28% | >15 min
Avista (2007) | 5% | 3.4% | >15 min
Avista (2007) | 10% | 7.3% | >15 min
Avista (2007) | 20% | 9.675% | >15 min
Avista (2007) | 30% | 11.45% | >15 min
BPA (2009) | 35.65% | 17.82% | >15 min
BPA (2011) | 14.21% | 44.7% | >15 min
CA IAP (2007) | 15% | 0.2869% | <15min
CAISO (2007) | 10.69% | 12.2% | <15min
CAISO (2010) | 17.09% | 5.609% | <15min
ERCOT (2008) | 23% | 0.36% | <15min
EWITS (2010) | 31.74% | 6.538% | <15 min
EWITS (2010) | 32.06% | 6.642% | <15 min
EWITS (2010) | 32.67% | 6.228% | <15 min
EWITS (2010) | 47.93% | 6.604% | <15 min
Idaho Power (2007) | 10% | 8.333% | >15 min
Idaho Power (2007) | 20% | 9.083% | >15 min
Idaho Power (2007) | 30% | 10.06% | >15 min
ISO-NE (2010) | 3.619% | 1.754% | <15min
ISO-NE (2010) | 13.24% | 5.276% | <15min
ISO-NE (2010) | 21.59% | 5.147% | <15min
MN-MISO (2006) | 18.57% | 5.231% | >15 min
MN-MISO (2006) | 24.73% | 6.242% | >15 min
MN-MISO (2006) | 30.7% | 7.56% | >15 min
Nebraska (2010) | 13.93% | 11.5% | <15 min
Nebraska (2010) | 27.99% | 10.21% | <15 min
Nebraska (2010) | 55.96% | 10.03% | <15 min
New York (2005) | 10% | 1.091% | <15min
Northwestern (2011) | 28.47% | 11.87% | >15 min
Northwestern (2011) | 26.1% | 12.7% | >15 min
Northwestern (2011) | 18.56% | 15.99% | >15 min
Northwestern (2011) | 21.43% | 24.24% | >15 min
Northwestern (2011) | 25.93% | 48.97% | >15 min
NYISO (2010) | 10.07% | 4.494% | <15min
NYISO (2010) | 25.4% | 3.346% | <15min
Oahu (2011) | 50% | 14% | <15min
PacifiCorp (2007) | 18.2% | 2.15% | >15 min
PacifiCorp (2010) | 3.924% | 7.765% | >15 min
PacifiCorp (2010) | 12.67% | 16.91% | >15 min
PacifiCorp (2010) | 16.92% | 16.86% | >15 min
SPP (2010) | 13.68% | 0.6561% | <15min
SPP (2010) | 27.35% | 0.8799% | <15min
SPP (2010) | 50.01% | 1.157% | <15min
SPP-SERC (2011) | 10.74% | 34.06% | >15 min
We Energies (2003) | 3.549% | 1.452% | >15min
We Energies (2003) | 7.097% | 2.796% | >15min
We Energies (2003) | 14.19% | 4.948% | >15min
We Energies (2003) | 28.39% | 7.47% | >15min
WWSIS (2010) | 46.07% | 2.478% | <15min
Xcel-MNDOC (2004) | 15% | 0.52% | >15min
Xcel-PSCo (2006) | 5% | 0.2119% | >15 min
Xcel-PSCo (2006) | 10% | 0.2271% | >15 min
Xcel-UWIG (2003) | 3.5% | 0% | >15min

## Figure 41
Figure 41. Wind Power Capacity Growth: 20% Wind Report, Actual Installations, Projected Growth
| 20% | 20% | Actual | Actual
| Deployment | Deployment | Deployment | Deployment
| Path | Path
| Annual GW | Cumulative GW | Annual GW | Cumulative GW
2006 | 1.29 | 11.4523 | 2.4536 | 11.451
2007 | 3.2624 | 14.7147 | 5.2492 | 16.7
2008 | 3.2624 | 17.9771 | 8.3612 | 25.062
2009 | 4.1798 | 22.1569 | 9.9999 | 35.062
2010 | 4.1798 | 26.3367 | 5.2137 | 40.275
2011 | 6.3496 | 32.6863 | 6.816 | 46.916
2012 | 6.3496 | 39.0358
2013 | 9.6326 | 48.6684
2014 | 9.6326 | 58.301
2015 | 13.4312 | 71.7322
2016 | 13.4312 | 85.1635
2017 | 16.1394 | 101.3029
2018 | 16.1394 | 117.4423
2019 | 16.1188 | 133.5611
2020 | 16.1188 | 149.6799
2021 | 16.7741 | 166.454
2022 | 16.7741 | 183.2282
2023 | 16.0978 | 199.326
2024 | 16.0978 | 215.4238
2025 | 16.2016 | 231.6254
2026 | 16.2016 | 247.8269
2027 | 15.4637 | 263.2906
2028 | 15.4637 | 278.7543
2029 | 13.023 | 291.7773
2030 | 13.023 | 304.8002